## Sheet1
Summary
|  | MBR | Bardenpho |  |  | Scaling Factor:
| Blowers and diffusers | 328022 | 929065
| Pumps and mixers | 975031 | 2612584 |  |  | CS/CR = (S/Sr)^2/3
| SCADA and Control | 194722 | 338073 |  | Flow: | 1.7362
| Design Work | 1070239 | 1276470 |  | Tank volume | 2.8323
| Construction cost | 4604409 | 10303272
| TOTAL |  | 15459464
ITEM | DESCRIPTION | UNIT | QTY | MBR RATE | MBR AMOUNT | Factor | Bardenpho amount
1 | Supply of Blowers and diffusers
1a | Pre-delivery of equipment | LS | 1 | 1700 | 1700 | 2.83 | 4814.95
1b | Fine air bubbles diffusers and grit | LS | 1 | 176860 | 176860 | 2.83 | 500925.12
1c | Blowers for the fine air | LS | 1 | 137412 | 137412 | 2.83 | 389195.53
1d | Inspection and monitoring | LS | 1 | 12050 | 12050 | 2.83 | 34129.52
2 | Supply of Pumps and mixers
2a | MLSS Pumps | ea | 4 | 10058.94 | 40235.76 | 1.74 | 69856.68
2b | RAS Pumps | ea | 3 | 10058.94 | 30176.82 | 1.74 | 52392.51
2c | Mixers | LS | 1 | 839080.58 | 839080.58 | 2.83 | 2376549.47
2d | WAS Pumps | ea | 2 | 4340.26 | 8680.52 | 1.74 | 15070.98
2e | MBR feed pumps | ea | 3 | 11929.36 | 35788.08 | 1.74 | 62134.69
2f | Ethanol dosing pump | ea | 2 | 10534.54 | 21069.08 | 1.74 | 36579.8
3 | SCADA and Control | LS | 1 | 194722 | 194722 | 1.74 | 338073.2139
3 | Construction and Installation
3a | PRELIMINARY & GENERAL | LS | 30% | 3541853 | 1062556 | 1.74 | 1844792.51
3b | Potable Water Systems | LS | 1 | 33642 | 33642 | 1.74 | 58408.7
3c | Compressed Air Systems | LS | 1 | 55643 | 55643 | 1.74 | 96606.48
3d | Electrical Services | LS | 1 | 729909 | 729909 | 1.74 | 1267256.3
3e | Ethanol dosing system | LS | 1 | 30597 | 30597 | 1.74 | 53122.02
3f | MBR feed system | LS | 1 | 185426 | 185426 | 1.74 | 321933.65
3g | MBR tanks | LS | 1 | 2106636 | 2106636 | 2.83 | 5966679.22
3h | Contingency | LS | 1 | 400000 | 400000 | 1.74 | 694473.59