## VB202-2009
Sample | VB202 | Year | 2009
Standard Concentrations
GC FID Values
Sample | HA | DHA | MGO |  | PFBHA conc | 20 | mg/ml
VB202-1 | 50.2 | 1.1 | 0 |  | HA conc | 0.513 | mg/ml
VB202-2 | 51 | 1.2 | 0 |  | MGO conc | 1.9148 | mg/ml
VB202-3 | 43.1 | 1.2 | 0 |  | DHA 1 |  | mg/ml
VB202-4 | 47 | 1.7 | 0 |  | DHA 2 | 1.0069 | mg/ml
VB202-5 | 49.6 | 1.6 | 0 |  | DHA 3 |  | mg/ml
VB202-6 | 50.6 | 1.7 | 0
VB202-7 | 44.7 | 1.6 | 0
VB202-8 | 44 | 1.2 | 0
VB202-9 | 53.1 | 1.8 | 0
VB202-10 | 50.2 | 1.7 | 0 | [5 empty] | Volume Added |  |  | Amount Added |  |  | GC-FID area |  |  | HA Ratio
[8 empty] | Sample | HA (uL) | DHA(uL) | MGO(uL) | HA (mg) | DHA(mg) | MGO(mg) | HA | DHA | MGO | DHA/HA | MGO/HA
std1 | 53.2 | 0 | 117.5 |  |  |  |  | 1 | 10 | 0 | 10 | 0.00513 | 0 | 0.019148 | 53.2 | 0 | 117.5 | 0 | 2.2086
std2 | 50.2 | 21.3 | 101.2 |  | DHA gradient | 216.33 |  | 2 | 10 | 2 | 8 | 0.00513 | 0.0020137 | 0.015318 | 50.2 | 21.3 | 101.2 | 0.4243 | 2.0159
std3 | 48.1 | 40.9 | 85.4 |  | Mannitol conc | 5.045 |  | 3 | 10 | 4 | 6 | 0.00513 | 0.0040274 | 0.011489 | 48.1 | 40.9 | 85.4 | 0.85031 | 1.7755
std4 | 51.5 | 65.2 | 37.9 |  |  |  |  | 4 | 10 | 6 | 4 | 0.00513 | 0.0060412 | 0.0076592 | 51.5 | 65.2 | 37.9 | 1.266 | 0.73592
std5 | 46.9 | 84.9 | 15 |  |  |  |  | 5 | 10 | 8 | 2 | 0.00513 | 0.0080549 | 0.0038296 | 46.9 | 84.9 | 15 | 1.8102 | 0.31983
std6 | 50.9 | 109.9 | 0 |  |  |  |  | 6 | 10 | 10 | 0 | 0.00513 | 0.010069 | 0 | 50.9 | 109.9 | 0 | 2.1591 | 0
Sample | Fructose | Glucose | Mannitol | Surcose | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | DHA Mass Grubbs test | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | Sugar Grubbs Test | DHA(mg)/(F+G+S)(mg) | DHA(mg)/(F+G+S)(mg) values | Grubbs Single Outlier Test | Grubbs Two Outlier tests | Grubbs Outliers tests
VB202-1 | 200.4 | 143.1 | 520.6 | 0 | VB202-1 | 50.2 | 1.1 | 0 | 0.021912 | 0.00010129 | 1.4385 | 200.4 | 143.1 | 520.6 | 0 | 0.38494 | 0.27488 | 0 | 0.018201 | 0.0084383 | 0 | 2.1569 | 0.26639 | 0.72895 | 0.00038024 | 0.00038024 | 0.44411 | High, Low outliers | Needs to exceed | 95% confidence | 99% confidence
VB202-2 | 163.6 | 127.8 | 434.7 | 0 | VB202-2 | 51 | 1.2 | 0 | 0.023529 | 0.00010877 | 1.1705 | 163.6 | 127.8 | 434.7 | 0 | 0.37635 | 0.294 | 0 | 0.017795 | 0.0090252 | 0 | 1.9717 | 0.2682 | 0.70707 | 0.00040554 | 0.00039482 | 0.36801 | -1.3076 | Grubbs Single | 2.176 | 2.41
VB202-3 | 256.3 | 186.4 | 547.3 | 0 | VB202-3 | 43.1 | 1.2 | 0 | 0.027842 | 0.0001287 | 0.45575 | 256.3 | 186.4 | 547.3 | 0 | 0.4683 | 0.34058 | 0 | 0.022142 | 0.010455 | 0 | 2.1178 | 0.32598 | 0.008005 | 0.00039482 | 0.00040554 | 0.31209 |  | Grubbs High Low | 3.68 | 3.88
VB202-4 | 329.6 | 232.7 | 535.2 | 0 | VB202-4 | 47 | 1.7 | 0 | 0.03617 | 0.0001672 | 0.92443 | 329.6 | 232.7 | 535.2 | 0 | 0.61584 | 0.43479 | 0 | 0.029118 | 0.013347 | 0 | 2.1816 | 0.42466 | 1.186 | 0.00039373 | 0.00042682 | 0.20111 | Two High Outliers | Grubbs Two High/Low | 0.7695 | 0.8586
VB202-5 | 322.8 | 241.2 | 574.7 | 0 | VB202-5 | 49.6 | 1.6 | 0 | 0.032258 | 0.00014912 | 0.27607 | 322.8 | 241.2 | 574.7 | 0 | 0.56168 | 0.4197 | 0 | 0.026558 | 0.012884 | 0 | 2.0613 | 0.39442 | 0.82012 | 0.00037806 | 0.00041925 | 0.24057 | 0.046123
VB202-6 | 213.1 | 154.6 | 602.1 | 0 | VB202-6 | 50.6 | 1.7 | 0 | 0.033597 | 0.0001553 | 0.49795 | 213.1 | 154.6 | 602.1 | 0 | 0.35393 | 0.25677 | 0 | 0.016734 | 0.0078824 | 0 | 2.123 | 0.24617 | 0.97363 | 0.00063088 | 0.00037806 | 0.45544
VB202-7 | 381.2 | 285.6 | 691.1 | 0 | VB202-7 | 44.7 | 1.6 | 0 | 0.035794 | 0.00016546 | 0.86211 | 381.2 | 285.6 | 691.1 | 0 | 0.55158 | 0.41325 | 0 | 0.02608 | 0.012686 | 0 | 2.0558 | 0.38766 | 0.73841 | 0.00042682 | 0.00039373 | 0.37373 | Two Low Outliers
VB202-8 | 187.7 | 131.4 | 729.4 | 0 | VB202-8 | 44 | 1.2 | 0 | 0.036364 | 0.00016809 | 0.95648 | 187.7 | 131.4 | 729.4 | 0 | 0.25733 | 0.18015 | 0 | 0.012167 | 0.0055303 | 0 | 2.2001 | 0.17698 | 1.8108 | 0.00094981 | 0.00094981 | 2.5273 | 0.19326
VB202-9 | 296.2 | 222.9 | 547.8 | 0 | VB202-9 | 53.1 | 1.8 | 0 | 0.022599 | 0.00010446 | 1.3247 | 296.2 | 222.9 | 547.8 | 0 | 0.54071 | 0.4069 | 0 | 0.025566 | 0.012491 | 0 | 2.0467 | 0.38057 | 0.65258 | 0.0002745 | 0.0002745 | 0.99576
VB202-10 | 317.9 | 233.1 | 561.2 | 0 | VB202-10 | 50.2 | 1.7 | 0 | 0.035857 | 0.00016575 | 0.87245 | 317.9 | 233.1 | 561.2 | 0 | 0.56646 | 0.41536 | 0 | 0.026784 | 0.012751 | 0 | 2.1005 | 0.39535 | 0.83136 | 0.00041925 | 0.00063088 | 0.8635
Mannitol | 0 | 0 | 687 | 0 | Normal statistics
Mix |  |  |  |  | Average | 48.35 | 1.4556 | 0 | 0.030592 | 0.00014141 |  | 266.88 | 195.88 | 574.41 | 0 | 0.46771 | 0.34364 | 0 | 0.022114 | 0.010549 | 0 | 2.1015 | 0.32664 |  | 0.00046536 | 0.00046536
[5 empty] | Std Dev | 3.4105 | 0.27437 | 0 | 0.006034 | 2.7892e-05 |  | 72.9936 | 54.7184 | 84.3107 | 0 | 0.11799 | 0.087916 | 0 | 0.0055788 | 0.0026989 | 0 | 0.069533 | 0.082647 |  | 0.00019168 | 0.00019168
[5 empty] | %RSD | 7.0538 | 18.8497 | #DIV/0! | 19.7239 | 19.7239 |  | 27.3507 | 27.9346 | 14.6778 | #DIV/0! | 25.2268 | 25.5841 | #DIV/0! | 25.2268 | 25.5841 | #DIV/0! | 3.3087 | 25.3025 |  | 41.1898 | 41.1898
|  | DHA/Tsugar | Pred UMF |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | DHA(mg)/(F+G+S)(mg) | DHA(mg)/Honey(kg) | Predicted MGO in honey | Predicted UMF | MAD DHA/Tsugar | MAD Pred UMF
Robust Statistics |  |  |  |  | VB202-1 | 50.2 | 1.1 | 0 | 0.021912 | 0.00010129 | 200.4 | 143.1 | 520.6 | 0 | 0.38494 | 0.27488 | 0 | 0.018201 | 0.0084383 | 0 | 2.1569 | 0.26639 | 0.00038024 | 342.2124 | 99.0981 | 6.0448 | 2.0515e-05 | 0.099603
Median |  | 0.00040075 | 6.1444 |  | VB202-2 | 51 | 1.2 | 0 | 0.023529 | 0.00010877 | 163.6 | 127.8 | 434.7 | 0 | 0.37635 | 0.294 | 0 | 0.017795 | 0.0090252 | 0 | 1.9717 | 0.2682 | 0.00040554 | 364.9884 | 103.938 | 6.1676 | 4.7914e-06 | 0.023242
MAD |  | 1.5753e-05 | 0.076449 |  | VB202-3 | 43.1 | 1.2 | 0 | 0.027842 | 0.0001287 | 256.3 | 186.4 | 547.3 | 0 | 0.4683 | 0.34058 | 0 | 0.022142 | 0.010455 | 0 | 2.1178 | 0.32598 | 0.00039482 | 355.3411 | 101.888 | 6.1156 | 5.9279e-06 | 0.028758
MADe |  | 2.3362e-05 | 0.11337 |  | VB202-4 | 47 | 1.7 | 0 | 0.03617 | 0.0001672 | 329.6 | 232.7 | 535.2 | 0 | 0.61584 | 0.43479 | 0 | 0.029118 | 0.013347 | 0 | 2.1816 | 0.42466 | 0.00039373 | 354.3536 | 101.6781 | 6.1103 | 7.0251e-06 | 0.034083
Count |  | 10 | 10 |  | VB202-5 | 49.6 | 1.6 | 0 | 0.032258 | 0.00014912 | 322.8 | 241.2 | 574.7 | 0 | 0.56168 | 0.4197 | 0 | 0.026558 | 0.012884 | 0 | 2.0613 | 0.39442 | 0.00037806 | 340.258 | 98.6828 | 6.0342 | 2.2687e-05 | 0.11016
95% confidence |  | 1.448e-05 | 0.070269 |  | VB202-6 | 50.6 | 1.7 | 0 | 0.033597 | 0.0001553 | 213.1 | 154.6 | 602.1 | 0 | 0.35393 | 0.25677 | 0 | 0.016734 | 0.0078824 | 0 | 2.123 | 0.24617 | 0.00063088 | 567.7949 | 147.0344 | 7.2491 | 0.00023013 | 1.1047
[5 empty] | VB202-7 | 44.7 | 1.6 | 0 | 0.035794 | 0.00016546 | 381.2 | 285.6 | 691.1 | 0 | 0.55158 | 0.41325 | 0 | 0.02608 | 0.012686 | 0 | 2.0558 | 0.38766 | 0.00042682 | 384.1342 | 108.0065 | 6.2707 | 2.6065e-05 | 0.12629
Normal Statistics |  |  |  |  | VB202-8 | 44 | 1.2 | 0 | 0.027273 | 0.00012607 | 187.7 | 131.4 | 729.4 | 0 | 0.25733 | 0.18015 | 0 | 0.012167 | 0.0055303 | 0 | 2.2001 | 0.17698 | 0.00071236 | 641.1204 | 162.6161 | 7.6346 | 0.0003116 | 1.4902
Average |  | 0.00045302 | 6.3946 |  | VB202-9 | 53.1 | 1.8 | 0 | 0.033898 | 0.0001567 | 296.2 | 222.9 | 547.8 | 0 | 0.54071 | 0.4069 | 0 | 0.025566 | 0.012491 | 0 | 2.0467 | 0.38057 | 0.00041174 | 370.5684 | 105.1238 | 6.1977 | 1.0991e-05 | 0.053295
Std Dev |  | 0.00011767 | 0.56363 |  | VB202-10 | 50.2 | 1.7 | 0 | 0.033865 | 0.00015654 | 317.9 | 233.1 | 561.2 | 0 | 0.56646 | 0.41536 | 0 | 0.026784 | 0.012751 | 0 | 2.1005 | 0.39535 | 0.00039596 | 356.3639 | 102.1053 | 6.1211 | 4.7914e-06 | 0.023242
%RSD |  | 25.9742 | 8.8142
Count |  | 10 | 10 |  | Normal statistics
95% confidence |  | 7.2929e-05 | 0.34934 |  | Average | 48.35 | 1.4556 | 0 | 0.030614 | 0.00014151 | 266.88 | 195.88 | 574.41 | 0 | 0.46771 | 0.34364 | 0 | 0.022114 | 0.010549 | 0 | 2.1015 | 0.32664 | 0.00045302 | 407.7135 | 113.0171 | 6.3946 | 6.4453e-05 | 0.30936
[5 empty] | Std Dev | 3.4105 | 0.27437 | 0 | 0.0051144 | 2.3642e-05 | 72.9936 | 54.7184 | 84.3107 | 0 | 0.11799 | 0.087916 | 0 | 0.0055788 | 0.0026989 | 0 | 0.069533 | 0.082647 | 0.00011767 | 105.9002 | 22.5038 | 0.56363 | 0.00011075 | 0.52999
[5 empty] | %RSD | 7.0538 | 18.8497 | #DIV/0! | 16.7062 | 16.7062 | 27.3507 | 27.9346 | 14.6778 | #DIV/0! | 25.2268 | 25.5841 | #DIV/0! | 25.2268 | 25.5841 | #DIV/0! | 3.3087 | 25.3025 | 25.9742 | 25.9742 | 19.9118 | 8.8142 | 171.8246 | 171.3189
Soaked from 10:54 to 15:03 249mins instead of 20mins
|  | DHA/Tsugar | Pred UMF |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | DHA(mg)/(F+G+S)(mg) | DHA(mg)/Honey(kg) | Predicted MGO in honey | Predicted UMF | MAD DHA/Tsugar | MAD Pred UMF
Robust Statistics |  |  |  |  | VB202-11 | 52.5 | 2.8 | 0 | 0.053333 | 0.00024654 | 334 | 243.3 | 380.7 | 0 | 0.87733 | 0.63909 | 0 | 0.041482 | 0.019619 | 0 | 2.1144 | 0.61101 | 0.00040349 | 363.1413 | 103.5455 | 6.1577 | 6.4508e-05 | 0.31375
Median |  | 0.00033898 | 5.8439 |  | VB202-12 | 57.9 | 2.4 | 0 | 0.041451 | 0.00019161 | 410.1 | 273.8 | 390.1 | 0 | 1.0513 | 0.70187 | 0 | 0.049706 | 0.021546 | 0 | 2.3069 | 0.71253 | 0.00026891 | 242.0235 | 77.808 | 5.5011 | 7.0067e-05 | 0.34286
MAD |  | 6.4508e-05 | 0.31375 |  | VB202-13 | 54 | 2.9 | 0 | 0.053704 | 0.00024825 | 305.6 | 225.9 | 292 | 0 | 1.0466 | 0.77363 | 0 | 0.049484 | 0.023749 | 0 | 2.0836 | 0.73234 | 0.00033898 | 305.0841 | 91.2084 | 5.8439 | 0 | 0
MADe |  | 9.5665e-05 | 0.46529
Count |  | 3 | 3 |  | Normal statistics
95% confidence |  | 0.00010825 | 0.52652 |  | Average | 54.8 | 2.7 | 0 | 0.049496 | 0.0002288 | 349.9 | 247.6667 | 354.2667 | 0 | 0.99173 | 0.70486 | 0 | 0.046891 | 0.021638 | 0 | 2.1683 | 0.68529 | 0.00033713 | 303.4163 | 90.854 | 5.8342 | 4.4858e-05 | 0.21887
[5 empty] | Std Dev | 2.7875 | 0.26458 | 0 | 0.0069698 | 3.2218e-05 | 54.034 | 24.2467 | 54.129 | 0 | 0.099096 | 0.067322 | 0 | 0.0046855 | 0.0020667 | 0 | 0.12104 | 0.065087 | 6.7307e-05 | 60.5761 | 12.8724 | 0.32841 | 3.8948e-05 | 0.19011
Normal Statistics |  |  |  |  | %RSD | 5.0866 | 9.7991 | #DIV/0! | 14.0815 | 14.0815 | 15.4427 | 9.7901 | 15.2792 | #DIV/0! | 9.9923 | 9.5511 | #DIV/0! | 9.9923 | 9.5511 | #DIV/0! | 5.5821 | 9.4977 | 19.9647 | 19.9647 | 14.1683 | 5.6291 | 86.8239 | 86.8575
Average |  | 0.00033713 | 5.8342
Std Dev |  | 6.7307e-05 | 0.32841 | [17 empty] | normal |  |  | extended
%RSD |  | 19.9647 | 5.6291
Count |  | 3 | 3 | [17 empty] | Mean | 0.00045302 |  | Mean | 0.00033713
95% confidence |  | 7.6163e-05 | 0.37163 | [17 empty] | Standard Error | 3.721e-05 |  | Standard Error | 3.886e-05
[21 empty] | Median | 0.00040075 |  | Median | 0.00033898
[21 empty] | Mode | #N/A |  | Mode | #N/A
[21 empty] | Standard Deviation | 0.00011767 |  | Standard Deviation | 6.7307e-05
[21 empty] | Sample Variance | 1.3845e-08 |  | Sample Variance | 4.5302e-09
[21 empty] | Kurtosis | 2.0672 |  | Kurtosis | #DIV/0!
[21 empty] | Skewness | 1.831 |  | Skewness | -0.1238
[21 empty] | Range | 0.00033429 |  | Range | 0.00013458
[21 empty] | Minimum | 0.00037806 |  | Minimum | 0.00026891
[21 empty] | Maximum | 0.00071236 |  | Maximum | 0.00040349
[21 empty] | Sum | 0.0045302 |  | Sum | 0.0010114
[21 empty] | Count | 10 |  | Count | 3
[21 empty] | Confidence Level(95.0%) | 8.4174e-05 |  | Confidence Level(95.0%) | 0.0001672
z-Test: Two Sample for Means
[22 empty] | VB202-2009 | standard soak | extended soak
[22 empty] | Mean | 0.00045302 | 0.00033713
[22 empty] | Known Variance | 1.3845e-08 | 4.5302e-09
[22 empty] | Observations | 10 | 3
[22 empty] | Hypothesized Mean Difference | 0
[22 empty] | z | 2.1539
[22 empty] | P(Z<=z) one-tail | 0.015622
[22 empty] | z Critical one-tail | 1.6449
[22 empty] | P(Z<=z) two-tail | 0.031245
[22 empty] | z Critical two-tail | 1.96

## VB192-2009(1)
Sample | VB192 | Year | 2009
Standard Concentrations
GC FID Values
Sample | HA | DHA | MGO |  | PFBHA conc | 20 | mg/ml
VB192-1 | 58.3 | 1 | 0 |  | HA conc | 0.5202 | mg/ml
VB192-2 | 59.6 | 1.5 | 0 |  | MGO conc | 1.8772 | mg/ml
VB192-3 | 58.6 | 1.3 | 0 |  | DHA 1 |  | mg/ml
VB192-4 | 61.4 | 1.6 | 0 |  | DHA 2 | 1.5001 | mg/ml
VB192-5 | 60.6 | 1.8 | 0 |  | DHA 3 |  | mg/ml
VB192-6 | 59.7 | 1.9 | 0
VB192-7 | 61 | 1.6 | 0
VB192-8 | 59.1 | 1.3 | 0
VB192-9 | 59.3 | 1.6 | 0
VB192-10 | 58.4 | 3 | 0 | [5 empty] | Volume Added |  |  | Amount Added |  |  | GC-FID area |  |  | HA Ratio
[8 empty] | Sample | HA (uL) | DHA(uL) | MGO(uL) | HA (mg) | DHA(mg) | MGO(mg) | HA | DHA | MGO | DHA/HA | MGO/HA
std1 | 54.2 | 0 | 36.3 |  |  |  |  | 1 | 10 | 0 | 10 | 0.005202 | 0 | 0.018772 | 54.2 | 0 | 36.3 | 0 | 0.66974
std2 | 65.9 | 38.3 | 134 |  | DHA gradient | 212.82 |  | 2 | 10 | 2 | 8 | 0.005202 | 0.0030002 | 0.015018 | 65.9 | 38.3 | 134 | 0.58118 | 2.0334
std3 | 61.6 | 77.4 | 31.8 |  | Mannitol conc | 5.109 |  | 3 | 10 | 4 | 6 | 0.005202 | 0.0060004 | 0.011263 | 61.6 | 77.4 | 31.8 | 1.2565 | 0.51623
std4 | 60.5 | 115.3 | 26.3 |  |  |  |  | 4 | 10 | 6 | 4 | 0.005202 | 0.0090006 | 0.0075088 | 60.5 | 115.3 | 26.3 | 1.9058 | 0.43471
std5 | 60.6 | 156.7 | 7.9 |  |  |  |  | 5 | 10 | 8 | 2 | 0.005202 | 0.012001 | 0.0037544 | 60.6 | 156.7 | 7.9 | 2.5858 | 0.13036
std6 | 60.4 | 267.8 | 0 |  |  |  |  | 6 | 10 | 10 | 0 | 0.005202 | 0.015001 | 0 | 60.4 | 267.8 | 0 |  | 0
Sample | Fructose | Glucose | Mannitol | Surcose | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | DHA Mass Grubbs test | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | Sugar Grubbs Test | DHA(mg)/(F+G+S)(mg) | DHA(mg)/(F+G+S)(mg) values | Grubbs Single Outlier Test | Grubbs Two Outlier tests | Grubbs Outliers tests
VB192-1 | 317.4 | 260.5 | 749.2 | 0 | VB192-1 | 58.3 | 1 | 0 | 0.017153 | 8.0597e-05 | 1.9843 | 317.4 | 260.5 | 749.2 | 0 | 0.42365 | 0.3477 | 0 | 0.020285 | 0.010809 | 0 | 1.8766 | 0.31095 | 2.0725 | 0.0002592 | 0.00028424 | 0.039873 | High, Low outliers | Needs to exceed | 95% confidence | 99% confidence
VB192-2 | 427 | 343.6 | 834.6 | 0 | VB192-2 | 59.6 | 1.5 | 0 | 0.025168 | 0.00011826 | 0.072426 | 427 | 343.6 | 834.6 | 0 | 0.51162 | 0.41169 | 0 | 0.024497 | 0.012799 | 0 | 1.9141 | 0.37296 | 0.89615 | 0.00031708 | 0.0002715 | 0.36234 | -0.45926 | Grubbs Single | 2.176 | 2.41
VB192-3 | 436.9 | 368.8 | 757.8 | 0 | VB192-3 | 58.6 | 1.3 | 0 | 0.022184 | 0.00010424 | 0.7841 | 436.9 | 368.8 | 757.8 | 0 | 0.57654 | 0.48667 | 0 | 0.027606 | 0.01513 | 0 | 1.8246 | 0.42735 | 0.13562 | 0.00024392 | 0.00024392 | 1.06 |  | Grubbs High Low | 3.68 | 3.88
VB192-4 | 494.6 | 412.7 | 882.2 | 0 | VB192-4 | 61.4 | 1.6 | 0 | 0.026059 | 0.00012244 | 0.14007 | 494.6 | 412.7 | 882.2 | 0 | 0.56064 | 0.46781 | 0 | 0.026845 | 0.014543 | 0 | 1.8459 | 0.41388 | 0.11999 | 0.00029585 | 0.0003394 | 1.3554 | Two High Outliers | Grubbs Two High/Low | 0.7695 | 0.8586
VB192-5 | 547.8 | 467.2 | 883 | 0 | VB192-5 | 60.6 | 1.8 | 0 | 0.029703 | 0.00013957 | 1.0094 | 547.8 | 467.2 | 883 | 0 | 0.62039 | 0.52911 | 0 | 0.029705 | 0.016449 | 0 | 1.8059 | 0.46154 | 0.78412 | 0.0003024 | 0.00021398 | 1.8173 | 0.017011
VB192-6 | 551.7 | 447.6 | 891.7 | 0 | VB192-6 | 59.7 | 1.9 | 0 | 0.031826 | 0.00014954 | 1.5158 | 551.7 | 447.6 | 891.7 | 0 | 0.61871 | 0.50196 | 0 | 0.029625 | 0.015605 | 0 | 1.8984 | 0.4523 | 0.6088 | 0.00033063 | 0.0002592 | 0.67342
VB192-7 | 538.4 | 461.6 | 884 | 0 | VB192-7 | 61 | 1.6 | 0 | 0.02623 | 0.00012325 | 0.18084 | 538.4 | 461.6 | 884 | 0 | 0.60905 | 0.52217 | 0 | 0.029162 | 0.016233 | 0 | 1.7965 | 0.45396 | 0.64027 | 0.0002715 | 0.00029585 | 0.25366 | Two Low Outliers
VB192-8 | 454.9 | 379.5 | 895.9 | 0 | VB192-8 | 59.1 | 1.3 | 0 | 0.027073 | 0.00012721 | 0.38198 | 454.9 | 379.5 | 895.9 | 0 | 0.50776 | 0.4236 | 0 | 0.024312 | 0.013169 | 0 | 1.8462 | 0.37481 | 0.86107 | 0.0003394 | 0.00031708 | 0.79081 | 0.19582
VB192-9 | 582.8 | 512.1 | 910.4 | 0 | VB192-9 | 59.3 | 1.6 | 0 | 0.021922 | 0.00010301 | 0.84657 | 582.8 | 512.1 | 910.4 | 0 | 0.64016 | 0.5625 | 0 | 0.030652 | 0.017487 | 0 | 1.7528 | 0.48139 | 1.1606 | 0.00021398 | 0.00033063 | 1.1336
VB192-10 | 544.1 | 481 | 905.4 | 0 | VB192-10 | 58.4 | 3 | 0 | 0.027397 | 0.00012873 | 0.45939 | 544.1 | 481 | 905.4 | 0 | 0.60095 | 0.53126 | 0 | 0.028775 | 0.016516 | 0 | 1.7423 | 0.4529 | 0.62028 | 0.00028424 | 0.0003024 | 0.41939
Mannitol | 0 | 0 | 928.5 | 0 | Normal statistics
Mix |  |  |  |  | Average | 59.6 | 1.5111 | 0 | 0.025471 | 0.00011969 |  | 489.56 | 413.46 | 859.42 | 0 | 0.56695 | 0.47845 | 0 | 0.027146 | 0.014874 | 0 | 1.8303 | 0.4202 |  | 0.00028582 | 0.00028582
[5 empty] | Std Dev | 1.0893 | 0.27588 | 0 | 0.0041922 | 1.9698e-05 |  | 80.87 | 76.076 | 59.4943 | 0 | 0.067538 | 0.066353 | 0 | 0.0032339 | 0.0020628 | 0 | 0.05756 | 0.052717 |  | 3.953e-05 | 3.953e-05
[5 empty] | %RSD | 1.8278 | 18.2569 | #DIV/0! | 16.4585 | 16.4585 |  | 16.5189 | 18.3998 | 6.9226 | #DIV/0! | 11.9126 | 13.8683 | #DIV/0! | 11.9126 | 13.8683 | #DIV/0! | 3.1448 | 12.5455 |  | 13.8304 | 13.8304
|  | DHA/Tsugar | Pred UMF |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | DHA(mg)/(F+G+S)(mg) | DHA(mg)/Honey(kg) | Predicted MGO in honey | Predicted UMF | MAD DHA/Tsugar | MAD Pred UMF
Robust Statistics |  |  |  |  | VB192-1 | 58.3 | 1 | 0 | 0.017153 | 8.0597e-05 | 317.4 | 260.5 | 749.2 | 0 | 0.42365 | 0.3477 | 0 | 0.020285 | 0.010809 | 0 | 1.8766 | 0.31095 | 0.0002592 | 233.2788 | 75.9498 | 5.4534 | 2.6604e-05 | 0.13053
Median |  | 0.0002858 | 5.5839 |  | VB192-2 | 59.6 | 1.5 | 0 | 0.025168 | 0.00011826 | 427 | 343.6 | 834.6 | 0 | 0.51162 | 0.41169 | 0 | 0.024497 | 0.012799 | 0 | 1.9141 | 0.37296 | 0.00031708 | 285.3714 | 87.0194 | 5.737 | 3.1277e-05 | 0.1531
MAD |  | 2.4522e-05 | 0.1203 |  | VB192-3 | 58.6 | 1.3 | 0 | 0.022184 | 0.00010424 | 436.9 | 368.8 | 757.8 | 0 | 0.57654 | 0.48667 | 0 | 0.027606 | 0.01513 | 0 | 1.8246 | 0.42735 | 0.00024392 | 219.5272 | 73.0275 | 5.3782 | 4.1884e-05 | 0.20565
MADe |  | 3.6365e-05 | 0.1784 |  | VB192-4 | 61.4 | 1.6 | 0 | 0.026059 | 0.00012244 | 494.6 | 412.7 | 882.2 | 0 | 0.56064 | 0.46781 | 0 | 0.026845 | 0.014543 | 0 | 1.8459 | 0.41388 | 0.00029585 | 266.2614 | 82.9586 | 5.6331 | 1.0043e-05 | 0.049225
Count |  | 10 | 10 |  | VB192-5 | 60.6 | 1.8 | 0 | 0.029703 | 0.00013957 | 547.8 | 467.2 | 883 | 0 | 0.62039 | 0.52911 | 0 | 0.029705 | 0.016449 | 0 | 1.8059 | 0.46154 | 0.0003024 | 272.1574 | 84.2115 | 5.6652 | 1.6594e-05 | 0.081295
95% confidence |  | 2.2539e-05 | 0.11057 |  | VB192-6 | 59.7 | 1.9 | 0 | 0.031826 | 0.00014954 | 551.7 | 447.6 | 891.7 | 0 | 0.61871 | 0.50196 | 0 | 0.029625 | 0.015605 | 0 | 1.8984 | 0.4523 | 0.00033063 | 297.5668 | 89.6109 | 5.8032 | 4.4827e-05 | 0.21929
[5 empty] | VB192-7 | 61 | 1.6 | 0 | 0.02623 | 0.00012325 | 538.4 | 461.6 | 884 | 0 | 0.60905 | 0.52217 | 0 | 0.029162 | 0.016233 | 0 | 1.7965 | 0.45396 | 0.0002715 | 244.3459 | 78.3015 | 5.5137 | 1.4307e-05 | 0.070147
Normal Statistics |  |  |  |  | VB192-8 | 59.1 | 1.3 | 0 | 0.021997 | 0.00010336 | 454.9 | 379.5 | 895.9 | 0 | 0.50776 | 0.4236 | 0 | 0.024312 | 0.013169 | 0 | 1.8462 | 0.37481 | 0.00027576 | 248.1835 | 79.117 | 5.5347 | 1.0043e-05 | 0.049225
Average |  | 0.00030926 | 5.6974 |  | VB192-9 | 59.3 | 1.6 | 0 | 0.026981 | 0.00012678 | 582.8 | 512.1 | 910.4 | 0 | 0.64016 | 0.5625 | 0 | 0.030652 | 0.017487 | 0 | 1.7528 | 0.48139 | 0.00026336 | 237.0273 | 76.7463 | 5.4738 | 2.2439e-05 | 0.11007
Std Dev |  | 8.3143e-05 | 0.40354 |  | VB192-10 | 58.4 | 3 | 0 | 0.05137 | 0.00024138 | 544.1 | 481 | 905.4 | 0 | 0.60095 | 0.53126 | 0 | 0.028775 | 0.016516 | 0 | 1.7423 | 0.4529 | 0.00053295 | 479.6594 | 128.3056 | 6.7819 | 0.00024715 | 1.198
%RSD |  | 26.8841 | 7.0829
Count |  | 10 | 10 |  | Normal statistics
95% confidence |  | 5.1532e-05 | 0.25011 |  | Average | 59.6 | 1.5111 | 0 | 0.027867 | 0.00013094 | 489.56 | 413.46 | 859.42 | 0 | 0.56695 | 0.47845 | 0 | 0.027146 | 0.014874 | 0 | 1.8303 | 0.4202 | 0.00030926 | 278.3379 | 85.5248 | 5.6974 | 4.6517e-05 | 0.22665
[5 empty] | Std Dev | 1.0893 | 0.27588 | 0 | 0.0092316 | 4.3377e-05 | 80.87 | 76.076 | 59.4943 | 0 | 0.067538 | 0.066353 | 0 | 0.0032339 | 0.0020628 | 0 | 0.05756 | 0.052717 | 8.3143e-05 | 74.8286 | 15.9011 | 0.40354 | 7.1555e-05 | 0.34654
[5 empty] | %RSD | 1.8278 | 18.2569 | #DIV/0! | 33.1274 | 33.1274 | 16.5189 | 18.3998 | 6.9226 | #DIV/0! | 11.9126 | 13.8683 | #DIV/0! | 11.9126 | 13.8683 | #DIV/0! | 3.1448 | 12.5455 | 26.8841 | 26.8841 | 18.5924 | 7.0829 | 153.8248 | 152.895
Soaked from 11:08 to 15:05 237mins instead of 20mins
|  | DHA/Tsugar | Pred UMF |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | DHA(mg)/(F+G+S)(mg) | DHA(mg)/Honey(kg) | Predicted MGO in honey | Predicted UMF | MAD DHA/Tsugar | MAD Pred UMF
Robust Statistics |  |  |  |  | VB192-11 | 56.6 | 3.8 | 0 | 0.067138 | 0.00031547 | 924.1 | 815.5 | 568.4 | 0 | 1.6258 | 1.4347 | 0 | 0.077846 | 0.044603 | 0 | 1.7453 | 1.2245 | 0.00025763 | 231.8689 | 75.6501 | 5.4457 | 3.2509e-05 | 0.15997
Median |  | 0.00022512 | 5.2857 |  | VB192-12 | 60.2 | 3.1 | 0 | 0.051495 | 0.00024197 | 922.1 | 777.6 | 635.7 | 0 | 1.4505 | 1.2232 | 0 | 0.069454 | 0.038027 | 0 | 1.8264 | 1.0748 | 0.00022512 | 202.6105 | 69.4327 | 5.2857 | 0 | 0
MAD |  | 1.4305e-05 | 0.070539 |  | VB192-13 | 59.9 | 1.9 | 0 | 0.03172 | 0.00014904 | 782.2 | 678 | 827.9 | 0 | 0.9448 | 0.81894 | 0 | 0.045239 | 0.025459 | 0 | 1.7769 | 0.70698 | 0.00021082 | 189.7359 | 66.6969 | 5.2151 | 1.4305e-05 | 0.070539
MADe |  | 2.1214e-05 | 0.10461
Count |  | 3 | 3 |  | Normal statistics
95% confidence |  | 2.4006e-05 | 0.11837 |  | Average | 58.9 | 2.9333 | 0 | 0.050117 | 0.00023549 | 876.1333 | 757.0333 | 677.3333 | 0 | 1.3404 | 1.159 | 0 | 0.06418 | 0.03603 | 0 | 1.7829 | 1.0021 | 0.00023119 | 208.0718 | 70.5933 | 5.3155 | 1.5605e-05 | 0.076837
[5 empty] | Std Dev | 1.9975 | 0.9609 | 0 | 0.017749 | 8.34e-05 | 81.3548 | 71.0197 | 134.6665 | 0 | 0.35361 | 0.31288 | 0 | 0.016931 | 0.0097269 | 0 | 0.04088 | 0.26631 | 2.399e-05 | 21.5909 | 4.5881 | 0.11811 | 1.6294e-05 | 0.080171
Normal Statistics |  |  |  |  | %RSD | 3.3913 | 32.758 | #DIV/0! | 35.4154 | 35.4154 | 9.2857 | 9.3813 | 19.8819 | #DIV/0! | 26.3812 | 26.9968 | #DIV/0! | 26.3812 | 26.9968 | #DIV/0! | 2.2929 | 26.5751 | 10.3766 | 10.3766 | 6.4993 | 2.222 | 104.414 | 104.3399
Average |  | 0.00023119 | 5.3155
Std Dev |  | 2.399e-05 | 0.11811
%RSD |  | 10.3766 | 2.222
Count |  | 3 | 3 | [16 empty] | Standard |  |  | Extended soak
95% confidence |  | 2.7147e-05 | 0.13365
[20 empty] | Mean | 0.00030926 |  | Mean | 0.00023119
[20 empty] | Standard Error | 2.6292e-05 |  | Standard Error | 1.3851e-05
[20 empty] | Median | 0.0002858 |  | Median | 0.00022512
[20 empty] | Mode | #N/A |  | Mode | #N/A
[20 empty] | Standard Deviation | 8.3143e-05 |  | Standard Deviation | 2.399e-05
[20 empty] | Sample Variance | 6.9127e-09 |  | Sample Variance | 5.7551e-10
[20 empty] | Kurtosis | 7.2445 |  | Kurtosis | #DIV/0!
[20 empty] | Skewness | 2.5634 |  | Skewness | 1.0654
[20 empty] | Range | 0.00028904 |  | Range | 4.6814e-05
[20 empty] | Minimum | 0.00024392 |  | Minimum | 0.00021082
[20 empty] | Maximum | 0.00053295 |  | Maximum | 0.00025763
[20 empty] | Sum | 0.0030926 |  | Sum | 0.00069357
[20 empty] | Count | 10 |  | Count | 3
[20 empty] | Confidence Level(95.0%) | 5.9477e-05 |  | Confidence Level(95.0%) | 5.9594e-05
z-Test: Two Sample for Means
[21 empty] | VB192-2009(1) | Standard | Extended
[21 empty] | Mean | 0.00030926 | 0.00023119
[21 empty] | Known Variance | 6.9128e-09 | 5.7551e-10
[21 empty] | Observations | 10 | 3
[21 empty] | Hypothesized Mean Difference | 0
[21 empty] | z | 2.6272
[21 empty] | P(Z<=z) one-tail | 0.0043044
[21 empty] | z Critical one-tail | 1.6449
[21 empty] | P(Z<=z) two-tail | 0.0086087
[21 empty] | z Critical two-tail | 1.96
As z > (z critical two-tail) are 95% confident that the two methods are difference