## L3962-2009
Sample | L3962 | Year | 2009
Standard Concentrations
GC FID Values
Sample | HA | DHA | MGO |  | PFBHA conc | 20 | mg/ml
L3962-1 | 67.8 | 18.1 | 0 |  | HA conc | 0.549 | mg/ml
L3962-2 | 66.6 | 17.8 | 0 |  | MGO conc | 1.8772 | mg/ml
L3962-3 | 69.2 | 19.1 | 0 |  | DHA 1 |  | mg/ml
L3962-4 | 67.2 | 16.6 | 0 |  | DHA 2 | 1.5001 | mg/ml
L3962-5 | 63.5 | 18.1 | 0 |  | DHA 3 |  | mg/ml
L3962-6 | 65 | 21.2 | 0
L3962-7 | 66.2 | 16 | 0
L3962-8 | 63.7 | 18.1 | 0
L3962-9 | 63 | 21.1 | 0
L3962-10 | 67.9 | 20.6 | 0 | [5 empty] | Volume Added |  |  | Amount Added |  |  | GC-FID area |  |  | HA Ratio
[8 empty] | Sample | HA (uL) | DHA(uL) | MGO(uL) | HA (mg) | DHA(mg) | MGO(mg) | HA | DHA | MGO | DHA/HA | MGO/HA
std1 | 62.1 | 0 | 182.8 |  |  |  |  | 1 | 10 | 0 | 10 | 0.00549 | 0 | 0.018772 | 62.1 | 0 | 182.8 | 0 | 2.9436
std2 | 66.1 | 42.2 | 34.8 |  | DHA gradient | 220.88 |  | 2 | 10 | 2 | 8 | 0.00549 | 0.0030002 | 0.015018 | 66.1 | 42.2 | 34.8 | 0.63843 | 0.52648
std3 | 65.5 | 84.9 | 108.9 |  | Mannitol conc | 5.109 |  | 3 | 10 | 4 | 6 | 0.00549 | 0.0060004 | 0.011263 | 65.5 | 84.9 | 108.9 | 1.2962 | 1.6626
std4 | 62.8 | 123.2 | 62.2 |  |  |  |  | 4 | 10 | 6 | 4 | 0.00549 | 0.0090006 | 0.0075088 | 62.8 | 123.2 | 62.2 | 1.9618 | 0.99045
std5 | 62.8 | 169 | 28.6 |  |  |  |  | 5 | 10 | 8 | 2 | 0.00549 | 0.012001 | 0.0037544 | 62.8 | 169 | 28.6 | 2.6911 | 0.45541
std6 | 62.4 | 206.4 | 0 |  |  |  |  | 6 | 10 | 10 | 0 | 0.00549 | 0.015001 | 0 | 62.4 | 206.4 | 0 |  | 0
Sample | Fructose | Glucose | Mannitol | Surcose | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | DHA Mass Grubbs test | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | Sugar Grubbs Test | DHA(mg)/(F+G+S)(mg) | DHA(mg)/(F+G+S)(mg) values | Grubbs Single Outlier Test | Grubbs Two Outlier tests | Grubbs Outliers tests
L3962-1 | 659.5 | 618.3 | 857.6 | 0 | L3962-1 | 67.8 | 18.1 | 0 | 0.26696 | 0.0012086 | 0.32842 | 659.5 | 618.3 | 857.6 | 0 | 0.76901 | 0.72097 | 0 | 0.036822 | 0.022413 | 0 | 1.6428 | 0.59235 | 0.51502 | 0.0020404 | 0.002678 | 1.2518 | High, Low outliers | Needs to exceed | 95% confidence | 99% confidence
L3962-2 | 568.1 | 527 | 882.6 | 0 | L3962-2 | 66.6 | 17.8 | 0 | 0.26727 | 0.00121 | 0.31724 | 568.1 | 527 | 882.6 | 0 | 0.64367 | 0.5971 | 0 | 0.03082 | 0.018563 | 0 | 1.6603 | 0.49383 | 0.8883 | 0.0024503 | 0.002226 | 0.14678 | 1.9964 | Grubbs Single | 2.176 | 2.41
L3962-3 | 503.4 | 453 | 870.8 | 0 | L3962-3 | 69.2 | 19.1 | 0 | 0.27601 | 0.0012496 | 0.0026935 | 503.4 | 453 | 870.8 | 0 | 0.57809 | 0.52021 | 0 | 0.02768 | 0.016172 | 0 | 1.7116 | 0.43852 | 1.676 | 0.0028496 | 0.0028496 | 1.7826 |  | Grubbs High Low | 3.68 | 3.88
L3962-4 | 556.9 | 517.6 | 812.2 | 0 | L3962-4 | 67.2 | 16.6 | 0 | 0.24702 | 0.0011184 | 1.0579 | 556.9 | 517.6 | 812.2 | 0 | 0.68567 | 0.63728 | 0 | 0.032831 | 0.019812 | 0 | 1.6571 | 0.52643 | 0.42391 | 0.0021244 | 0.001769 | 1.5607 | Two High Outliers | Grubbs Two High/Low | 0.7695 | 0.8586
L3962-5 | 697.3 | 647.1 | 842.8 | 0 | L3962-5 | 63.5 | 18.1 | 0 | 0.28504 | 0.0012905 | 0.333 | 697.3 | 647.1 | 842.8 | 0 | 0.82736 | 0.7678 | 0 | 0.039616 | 0.023869 | 0 | 1.6597 | 0.63485 | 1.1204 | 0.0020327 | 0.002177 | 0.29816 | 0.19346
L3962-6 | 608 | 547 | 745.4 | 0 | L3962-6 | 65 | 21.2 | 0 | 0.32615 | 0.0014766 | 1.8373 | 608 | 547 | 745.4 | 0 | 0.81567 | 0.73383 | 0 | 0.039056 | 0.022813 | 0 | 1.712 | 0.61869 | 0.89025 | 0.0023867 | 0.0020404 | 0.7209
L3962-7 | 587.5 | 553.5 | 922.3 | 0 | L3962-7 | 66.2 | 16 | 0 | 0.24169 | 0.0010942 | 1.253 | 587.5 | 553.5 | 922.3 | 0 | 0.63699 | 0.60013 | 0 | 0.030501 | 0.018657 | 0 | 1.6348 | 0.49157 | 0.92038 | 0.002226 | 0.0021244 | 0.46091 | Two Low Outliers
L3962-8 | 700.8 | 645.6 | 834.2 | 0 | L3962-8 | 63.7 | 18.1 | 0 | 0.25118 | 0.0011372 | 0.90593 | 700.8 | 645.6 | 834.2 | 0 | 0.84009 | 0.77392 | 0 | 0.040225 | 0.024059 | 0 | 1.6719 | 0.64284 | 1.2343 | 0.001769 | 0.0024503 | 0.54726 | 0.077416
L3962-9 | 684.3 | 609.8 | 865.7 | 0 | L3962-9 | 63 | 21.1 | 0 | 0.2873 | 0.0013007 | 0.41577 | 684.3 | 609.8 | 865.7 | 0 | 0.79046 | 0.7044 | 0 | 0.037849 | 0.021898 | 0 | 1.7284 | 0.59747 | 0.58798 | 0.002177 | 0.0023867 | 0.35044
L3962-10 | 482 | 440.2 | 699.8 | 0 | L3962-10 | 67.9 | 20.6 | 0 | 0.31075 | 0.0014069 | 1.2737 | 482 | 440.2 | 699.8 | 0 | 0.68877 | 0.62904 | 0 | 0.03298 | 0.019555 | 0 | 1.6865 | 0.52535 | 0.43928 | 0.002678 | 0.0020327 | 0.74465
Mannitol | 0 | 0 | 897.1 | 0 | Normal statistics
Mix |  |  |  |  | Average | 66.01 | 18.4556 | 0 | 0.27594 | 0.0012493 |  | 604.78 | 555.91 | 833.34 | 0 | 0.72758 | 0.66847 | 0 | 0.034838 | 0.020781 | 0 | 1.6765 | 0.55619 |  | 0.0022734 | 0.0022734
[5 empty] | Std Dev | 2.1205 | 1.7756 | 0 | 0.027332 | 0.00012374 |  | 79.1603 | 74.1803 | 66.2344 | 0 | 0.092437 | 0.084048 | 0 | 0.0044261 | 0.0026129 | 0 | 0.031777 | 0.070207 |  | 0.00032321 | 0.00032321
[5 empty] | %RSD | 3.2124 | 9.621 | #DIV/0! | 9.905 | 9.905 |  | 13.0891 | 13.3439 | 7.9481 | #DIV/0! | 12.7048 | 12.5732 | #DIV/0! | 12.7048 | 12.5732 | #DIV/0! | 1.8955 | 12.6228 |  | 14.2169 | 14.2169
1st extraction |  | DHA/Tsugar | Pred UMF |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | DHA(mg)/(F+G+S)(mg) | DHA(mg)/Honey(kg) | Predicted MGO in honey | Predicted UMF | MAD DHA/Tsugar | MAD Pred UMF
Robust Statistics |  |  |  |  | L3962-1 | 67.8 | 18.1 | 0 | 0.26696 | 0.0012086 | 659.5 | 618.3 | 857.6 | 0 | 0.76901 | 0.72097 | 0 | 0.036822 | 0.022413 | 0 | 1.6428 | 0.59235 | 0.0020404 | 1836.3589 | 416.6043 | 13.508 | 0.00026591 | 1.0816
Median |  | 0.0023063 | 14.5896 |  | L3962-2 | 66.6 | 17.8 | 0 | 0.26727 | 0.00121 | 568.1 | 527 | 882.6 | 0 | 0.64367 | 0.5971 | 0 | 0.03082 | 0.018563 | 0 | 1.6603 | 0.49383 | 0.0024503 | 2205.2505 | 494.9937 | 15.1644 | 0.00014397 | 0.57481
MAD |  | 0.00024873 | 1.0004 |  | L3962-3 | 69.2 | 19.1 | 0 | 0.27601 | 0.0012496 | 503.4 | 453 | 870.8 | 0 | 0.57809 | 0.52021 | 0 | 0.02768 | 0.016172 | 0 | 1.7116 | 0.43852 | 0.0028496 | 2564.6061 | 571.3568 | 16.7071 | 0.00054325 | 2.1175
MADe |  | 0.00036887 | 1.4836 |  | L3962-4 | 67.2 | 16.6 | 0 | 0.24702 | 0.0011184 | 556.9 | 517.6 | 812.2 | 0 | 0.68567 | 0.63728 | 0 | 0.032831 | 0.019812 | 0 | 1.6571 | 0.52643 | 0.0021244 | 1911.9871 | 432.6753 | 13.8536 | 0.00018188 | 0.73599
Count |  | 10 | 10 |  | L3962-5 | 63.5 | 18.1 | 0 | 0.28504 | 0.0012905 | 697.3 | 647.1 | 842.8 | 0 | 0.82736 | 0.7678 | 0 | 0.039616 | 0.023869 | 0 | 1.6597 | 0.63485 | 0.0020327 | 1829.4492 | 415.136 | 13.4763 | 0.00027359 | 1.1133
95% confidence |  | 0.00022863 | 0.91952 |  | L3962-6 | 65 | 21.2 | 0 | 0.32615 | 0.0014766 | 608 | 547 | 745.4 | 0 | 0.81567 | 0.73383 | 0 | 0.039056 | 0.022813 | 0 | 1.712 | 0.61869 | 0.0023867 | 2147.9978 | 482.8275 | 14.9122 | 8.0353e-05 | 0.32257
[5 empty] | L3962-7 | 66.2 | 16 | 0 | 0.24169 | 0.0010942 | 587.5 | 553.5 | 922.3 | 0 | 0.63699 | 0.60013 | 0 | 0.030501 | 0.018657 | 0 | 1.6348 | 0.49157 | 0.002226 | 2003.363 | 452.0926 | 14.267 | 8.0353e-05 | 0.32257
Normal Statistics |  |  |  |  | L3962-8 | 63.7 | 18.1 | 0 | 0.28414 | 0.0012864 | 700.8 | 645.6 | 834.2 | 0 | 0.84009 | 0.77392 | 0 | 0.040225 | 0.024059 | 0 | 1.6719 | 0.64284 | 0.0020011 | 1801.0246 | 409.0957 | 13.3455 | 0.00030517 | 1.2441
Average |  | 0.0023264 | 14.655 |  | L3962-9 | 63 | 21.1 | 0 | 0.33492 | 0.0015163 | 684.3 | 609.8 | 865.7 | 0 | 0.79046 | 0.7044 | 0 | 0.037849 | 0.021898 | 0 | 1.7284 | 0.59747 | 0.0025379 | 2284.0801 | 511.745 | 15.5088 | 0.00023156 | 0.91921
Std Dev |  | 0.00028774 | 1.1453 |  | L3962-10 | 67.9 | 20.6 | 0 | 0.30339 | 0.0013735 | 482 | 440.2 | 699.8 | 0 | 0.68877 | 0.62904 | 0 | 0.03298 | 0.019555 | 0 | 1.6865 | 0.52535 | 0.0026145 | 2353.0685 | 526.4051 | 15.8075 | 0.00030821 | 1.2179
%RSD |  | 12.3685 | 7.8154
Count |  | 10 | 10 |  | Normal statistics
95% confidence |  | 0.00017834 | 0.70988 |  | Average | 66.01 | 18.4556 | 0 | 0.28326 | 0.0012824 | 604.78 | 555.91 | 833.34 | 0 | 0.72758 | 0.66847 | 0 | 0.034838 | 0.020781 | 0 | 1.6765 | 0.55619 | 0.0023264 | 2093.7186 | 471.2932 | 14.655 | 0.00024142 | 0.96495
[5 empty] | Std Dev | 2.1205 | 1.7756 | 0 | 0.030791 | 0.0001394 | 79.1603 | 74.1803 | 66.2344 | 0 | 0.092437 | 0.084048 | 0 | 0.0044261 | 0.0026129 | 0 | 0.031777 | 0.070207 | 0.00028774 | 258.9623 | 55.0295 | 1.1453 | 0.00013593 | 0.53103
[5 empty] | %RSD | 3.2124 | 9.621 | #DIV/0! | 10.8702 | 10.8702 | 13.0891 | 13.3439 | 7.9481 | #DIV/0! | 12.7048 | 12.5732 | #DIV/0! | 12.7048 | 12.5732 | #DIV/0! | 1.8955 | 12.6228 | 12.3685 | 12.3685 | 11.6763 | 7.8154 | 56.3023 | 55.0312
Second extraction
second extraction |  | DHA/Tsugar | Pred UMF |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | DHA(mg)/(F+G+S)(mg) | DHA(mg)/Honey(kg) | Predicted MGO in honey | Predicted UMF | MAD DHA/Tsugar | MAD Pred UMF
Robust Statistics |  |  |  |  | L3962-1a | 62.9 | 7.2 | 0 | 0.11447 | 0.00051823 | 335.8 | 310.9 | 889.9 | 0 | 0.37735 | 0.34937 | 0 | 0.018068 | 0.010861 | 0 | 1.6636 | 0.28929 | 0.0017914 | 1612.2527 | 368.9817 | 12.4657 | 0.00013318 | 0.56083
Median |  | 0.0019246 | 13.0266 |  | L3962-2a | 60.9 | 8 | 0 | 0.13136 | 0.00059473 | 329.4 | 314.4 | 885 | 0 | 0.3722 | 0.35525 | 0 | 0.017822 | 0.011044 | 0 | 1.6137 | 0.28866 | 0.0020603 | 1854.27 | 420.4104 | 13.5901 | 0.00013573 | 0.56359
MAD |  | 0.00013318 | 0.56083 |  | L3962-3a | 66 | 7.5 | 0 | 0.11364 | 0.00051447 | 307 | 273.7 | 868.2 | 0 | 0.35361 | 0.31525 | 0 | 0.016931 | 0.0098005 | 0 | 1.7276 | 0.26732 | 0.0019246 | 1732.1105 | 394.4515 | 13.0266 | 0 | 0
MADe |  | 0.0001975 | 0.83171
Count |  | 3 | 3 |  | Normal statistics
95% confidence |  | 0.00022349 | 0.94115 |  | Average | 63.2667 | 7.5667 | 0 | 0.11982 | 0.00054248 | 324.0667 | 299.6667 | 881.0333 | 0 | 0.36772 | 0.33996 | 0 | 0.017607 | 0.010569 | 0 | 1.6683 | 0.28176 | 0.0019254 | 1732.8777 | 394.6145 | 13.0275 | 8.9636e-05 | 0.37481
[5 empty] | Std Dev | 2.5697 | 0.40415 | 0 | 0.010003 | 4.5288e-05 | 15.1226 | 22.5558 | 11.3808 | 0 | 0.01249 | 0.021598 | 0 | 0.00059803 | 0.00067144 | 0 | 0.0571 | 0.012508 | 0.00013446 | 121.0104 | 25.7147 | 0.56221 | 7.7638e-05 | 0.32459
Normal Statistics |  |  |  |  | %RSD | 4.0617 | 5.3411 | #DIV/0! | 8.3483 | 8.3483 | 4.6665 | 7.527 | 1.2918 | #DIV/0! | 3.3965 | 6.3532 | #DIV/0! | 3.3965 | 6.3532 | #DIV/0! | 3.4227 | 4.4393 | 6.9832 | 6.9832 | 6.5164 | 4.3156 | 86.6143 | 86.6033
Average |  | 0.0019254 | 13.0275
Std Dev |  | 0.00013446 | 0.56221
%RSD |  | 6.9832 | 4.3156
Count |  | 3 | 3
95% confidence |  | 0.00015215 | 0.63619

## L3961-2010
Sample | L3961 | Year | 2010
Standard Concentrations
GC FID Values
Sample | HA | DHA | MGO |  | PFBHA conc | 20 | mg/ml
L3961-1 | 48 | 17.3 | 0 |  | HA conc | 0.3861 | mg/ml
L3961-2 | 49.6 | 25.5 | 0 |  | MGO conc | 2.8958 | mg/ml
L3961-3 | 48.4 | 20.8 | 0 |  | DHA 1 |  | mg/ml
L3961-4 | 49.4 | 15.7 | 0 |  | DHA 2 | 0.9346 | mg/ml
L3961-5 | 47.6 | 25.6 | 0 |  | DHA 3 |  | mg/ml
L3961-6 | 50.4 | 23.7 | 0
L3961-7 | 49.3 | 18.8 | 0
L3961-8 | 49.8 | 22.9 | 0
L3961-9 | 48.2 | 20 | 0
L3961-10 | 50.7 | 23.6 | 0 | [5 empty] | Volume Added |  |  | Amount Added |  |  | GC-FID area |  |  | HA Ratio
[8 empty] | Sample | HA (uL) | DHA(uL) | MGO(uL) | HA (mg) | DHA(mg) | MGO(mg) | HA | DHA | MGO | DHA/HA | MGO/HA
std1 | 52.8 | 0 | 231.8 |  |  |  |  | 1 | 10 | 0 | 10 | 0.003861 | 0 | 0.028958 | 52.8 | 0 | 231.8 | 0 | 4.3902
std2 | 52.1 | 26.9 | 210.1 |  | DHA gradient | 286.3 |  | 2 | 10 | 2 | 8 | 0.003861 | 0.0018692 | 0.023166 | 52.1 | 26.9 | 210.1 | 0.51631 | 4.0326
std3 | 48.5 | 52.6 | 120.8 |  | Mannitol conc | 5 |  | 3 | 10 | 4 | 6 | 0.003861 | 0.0037384 | 0.017375 | 48.5 | 52.6 | 120.8 | 1.0845 | 2.4907
std4 | 50.4 | 78.6 | 94.1 |  |  |  |  | 4 | 10 | 6 | 4 | 0.003861 | 0.0056076 | 0.011583 | 50.4 | 78.6 | 94.1 | 1.5595 | 1.8671
std5 | 48.5 | 105.8 | 46.2 |  |  |  |  | 5 | 10 | 8 | 2 | 0.003861 | 0.0074768 | 0.0057916 | 48.5 | 105.8 | 46.2 | 2.1814 | 0.95258
std6 | 47.7 | 127.3 | 0 |  |  |  |  | 6 | 10 | 10 | 0 | 0.003861 | 0.009346 | 0 | 47.7 | 127.3 | 0 | 2.6688 | 0
Sample | Fructose | Glucose | Mannitol | Surcose | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | DHA Mass Grubbs test | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | Sugar Grubbs Test | DHA(mg)/(F+G+S)(mg) | DHA(mg)/(F+G+S)(mg) values | Grubbs Single Outlier Test | Grubbs Two Outlier tests | Grubbs Outliers tests
L3961-1 | 556.5 | 472.9 | 922.4 | 0 | L3961-1 | 48 | 17.3 | 0 | 0.36042 | 0.0012589 | 0.91543 | 556.5 | 472.9 | 922.4 | 0 | 0.60332 | 0.51268 | 0 | 0.028272 | 0.015598 | 0 | 1.8125 | 0.4387 | 1.484 | 0.0028696 | 0.0023711 | 0.85234 | High, Low outliers | Needs to exceed | 95% confidence | 99% confidence
L3961-2 | 560.9 | 505.1 | 726.3 | 0 | L3961-2 | 49.6 | 25.5 | 0 | 0.51411 | 0.0017957 | 1.2346 | 560.9 | 505.1 | 726.3 | 0 | 0.77227 | 0.69544 | 0 | 0.036189 | 0.021159 | 0 | 1.7104 | 0.57348 | 0.48063 | 0.0031313 | 0.0028696 | 0.19898 | -1.0204 | Grubbs Single | 2.176 | 2.41
L3961-3 | 479.4 | 401.5 | 771.3 | 0 | L3961-3 | 48.4 | 20.8 | 0 | 0.42975 | 0.0015011 | 0.054474 | 479.4 | 401.5 | 771.3 | 0 | 0.62155 | 0.52055 | 0 | 0.029126 | 0.015838 | 0 | 1.839 | 0.44964 | 1.3245 | 0.0033384 | 0.0030707 | 0.62332 |  | Grubbs High Low | 3.68 | 3.88
L3961-4 | 581 | 487.7 | 898.5 | 0 | L3961-4 | 49.4 | 15.7 | 0 | 0.31781 | 0.0011101 | 1.5114 | 581 | 487.7 | 898.5 | 0 | 0.64663 | 0.54279 | 0 | 0.030301 | 0.016514 | 0 | 1.8349 | 0.46816 | 1.0545 | 0.0023711 | 0.0033384 | 1.1879 | Two High Outliers | Grubbs Two High/Low | 0.7695 | 0.8586
L3961-5 | 634.2 | 555 | 842 | 0 | L3961-5 | 47.6 | 25.6 | 0 | 0.53782 | 0.0018785 | 1.5661 | 634.2 | 555 | 842 | 0 | 0.75321 | 0.65914 | 0 | 0.035296 | 0.020054 | 0 | 1.76 | 0.5535 | 0.18944 | 0.0033939 | 0.0033939 | 1.3049 | 0.091048
L3961-6 | 588.2 | 513 | 750.4 | 0 | L3961-6 | 50.4 | 23.7 | 0 | 0.47024 | 0.0016425 | 0.62082 | 588.2 | 513 | 750.4 | 0 | 0.78385 | 0.68364 | 0 | 0.036731 | 0.020799 | 0 | 1.766 | 0.57531 | 0.50736 | 0.0028549 | 0.0020383 | 1.5544
L3961-7 | 556.6 | 486.4 | 742.6 | 0 | L3961-7 | 49.3 | 18.8 | 0 | 0.38134 | 0.001332 | 0.62276 | 556.6 | 486.4 | 742.6 | 0 | 0.74953 | 0.655 | 0 | 0.035123 | 0.019928 | 0 | 1.7625 | 0.55051 | 0.14591 | 0.0024195 | 0.0031313 | 0.75102 | Two Low Outliers
L3961-8 | 55.2 | 11.3 | 45.3 | 0 | L3961-8 | 49.8 | 22.9 | 0 | 0.37751 | 0.0013186 | 0.67632 | 55.2 | 11.3 | 45.3 | 0 | 1.2185 | 0.24945 | 0 | 0.057101 | 0.0075894 | 0 | 7.5238 | 0.64691 | 1.551 | 0.0020383 | 0.0024195 | 0.75039 | 0.1435
L3961-9 | 603.7 | 526.5 | 819.9 | 0 | L3961-9 | 48.2 | 20 | 0 | 0.4751 | 0.0016595 | 0.68888 | 603.7 | 526.5 | 819.9 | 0 | 0.73631 | 0.64215 | 0 | 0.034504 | 0.019537 | 0 | 1.766 | 0.54041 | 0.0013487 | 0.0030707 | 0.0022646 | 1.077
L3961-10 | 740.8 | 618 | 879.6 | 0 | L3961-10 | 50.7 | 23.6 | 0 | 0.39448 | 0.0013778 | 0.43897 | 740.8 | 618 | 879.6 | 0 | 0.8422 | 0.70259 | 0 | 0.039466 | 0.021376 | 0 | 1.8463 | 0.60842 | 0.99001 | 0.0022646 | 0.0028549 | 0.16811
Mannitol | 0 | 0 | 930.2 | 0 | Normal statistics
Mix | 1085.4 | 1416.3 | 951.2 | 1453.6 | Average | 49.14 | 21.1444 | 0 | 0.42586 | 0.0014875 |  | 535.65 | 457.74 | 739.83 | 0 | 0.77274 | 0.58634 | 0 | 0.036211 | 0.017839 | 0 | 2.3621 | 0.5405 |  | 0.0027752 | 0.0027752
[5 empty] | Std Dev | 1.0469 | 3.5317 | 0 | 0.071487 | 0.00024969 |  | 181.5841 | 166.5292 | 253.5434 | 0 | 0.17429 | 0.13871 | 0 | 0.0081674 | 0.0042202 | 0 | 1.8142 | 0.068603 |  | 0.00047409 | 0.00047409
[5 empty] | %RSD | 2.1304 | 16.7026 | #DIV/0! | 16.7866 | 16.7866 |  | 33.8998 | 36.3807 | 34.2705 | #DIV/0! | 22.5552 | 23.6564 | #DIV/0! | 22.5552 | 23.6564 | #DIV/0! | 76.8019 | 12.6924 |  | 17.0829 | 17.0829
1st extraction |  | DHA/Tsugar | Pred UMF |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | DHA(mg)/(F+G+S)(mg) | DHA(mg)/Honey(kg) | Predicted MGO in honey | Predicted UMF | MAD DHA/Tsugar | MAD Pred UMF
Robust Statistics |  |  |  |  | L3961-1 | 48 | 17.3 | 0 | 0.36042 | 0.0012589 | 556.5 | 472.9 | 922.4 | 0 | 0.60332 | 0.51268 | 0 | 0.028272 | 0.015598 | 0 | 1.8125 | 0.4387 | 0.0028696 | 2582.6103 | 575.1827 | 16.7825 | 0.00010116 | 0.385
Median |  | 0.0027684 | 16.3976 |  | L3961-2 | 49.6 | 25.5 | 0 | 0.51411 | 0.0017957 | 560.9 | 505.1 | 726.3 | 0 | 0.77227 | 0.69544 | 0 | 0.036189 | 0.021159 | 0 | 1.7104 | 0.57348 | 0.0031313 | 2818.1559 | 625.2361 | 17.7535 | 0.00036288 | 1.3559
MAD |  | 0.00031726 | 1.2299 |  | L3961-3 | 48.4 | 20.8 | 0 | 0.42975 | 0.0015011 | 479.4 | 401.5 | 771.3 | 0 | 0.62155 | 0.52055 | 0 | 0.029126 | 0.015838 | 0 | 1.839 | 0.44964 | 0.0033384 | 3004.544 | 664.8436 | 18.5004 | 0.00056998 | 2.1029
MADe |  | 0.0004705 | 1.824 |  | L3961-4 | 49.4 | 15.7 | 0 | 0.31781 | 0.0011101 | 581 | 487.7 | 898.5 | 0 | 0.64663 | 0.54279 | 0 | 0.030301 | 0.016514 | 0 | 1.8349 | 0.46816 | 0.0023711 | 2134.0338 | 479.8602 | 14.8504 | 0.00039725 | 1.5472
Count |  | 10 | 10 |  | L3961-5 | 47.6 | 25.6 | 0 | 0.53782 | 0.0018785 | 634.2 | 555 | 842 | 0 | 0.75321 | 0.65914 | 0 | 0.035296 | 0.020054 | 0 | 1.76 | 0.5535 | 0.0033939 | 3054.4838 | 675.4558 | 18.6974 | 0.00062547 | 2.2998
95% confidence |  | 0.00029161 | 1.1305 |  | L3961-6 | 50.4 | 23.7 | 0 | 0.47024 | 0.0016425 | 588.2 | 513 | 750.4 | 0 | 0.78385 | 0.68364 | 0 | 0.036731 | 0.020799 | 0 | 1.766 | 0.57531 | 0.0028549 | 2569.4384 | 572.3837 | 16.7274 | 8.6529e-05 | 0.32982
[5 empty] | L3961-7 | 49.3 | 18.8 | 0 | 0.38134 | 0.001332 | 556.6 | 486.4 | 742.6 | 0 | 0.74953 | 0.655 | 0 | 0.035123 | 0.019928 | 0 | 1.7625 | 0.55051 | 0.0024195 | 2177.5336 | 489.1039 | 15.0425 | 0.00034892 | 1.355
Normal Statistics |  |  |  |  | L3961-8 | 49.8 | 22.9 | 0 | 0.45984 | 0.0016061 | 55.2 | 11.3 | 45.3 | 0 | 1.2185 | 0.24945 | 0 | 0.057101 | 0.0075894 | 0 | 7.5238 | 0.64691 | 0.0024828 | 2234.5244 | 501.2144 | 15.2927 | 0.0002856 | 1.1048
Average |  | 0.0028216 | 16.5745 |  | L3961-9 | 48.2 | 20 | 0 | 0.41494 | 0.0014493 | 603.7 | 526.5 | 819.9 | 0 | 0.73631 | 0.64215 | 0 | 0.034504 | 0.019537 | 0 | 1.766 | 0.54041 | 0.0026819 | 2413.6858 | 539.2862 | 16.0677 | 8.6529e-05 | 0.32982
Std Dev |  | 0.00036744 | 1.3819 |  | L3961-10 | 50.7 | 23.6 | 0 | 0.46548 | 0.0016259 | 740.8 | 618 | 879.6 | 0 | 0.8422 | 0.70259 | 0 | 0.039466 | 0.021376 | 0 | 1.8463 | 0.60842 | 0.0026723 | 2405.0363 | 537.4482 | 16.0307 | 9.614e-05 | 0.36683
%RSD |  | 13.0225 | 8.3376
Count |  | 10 | 10 |  | Normal statistics
95% confidence |  | 0.00022774 | 0.85651 |  | Average | 49.14 | 21.1444 | 0 | 0.43517 | 0.00152 | 535.65 | 457.74 | 739.83 | 0 | 0.77274 | 0.58634 | 0 | 0.036211 | 0.017839 | 0 | 2.3621 | 0.5405 | 0.0028216 | 2539.4046 | 566.0015 | 16.5745 | 0.00029605 | 1.1177
[5 empty] | Std Dev | 1.0469 | 3.5317 | 0 | 0.068494 | 0.00023924 | 181.5841 | 166.5292 | 253.5434 | 0 | 0.17429 | 0.13871 | 0 | 0.0081674 | 0.0042202 | 0 | 1.8142 | 0.068603 | 0.00036744 | 330.693 | 70.2723 | 1.3819 | 0.00020191 | 0.74594
[5 empty] | %RSD | 2.1304 | 16.7026 | #DIV/0! | 15.7393 | 15.7393 | 33.8998 | 36.3807 | 34.2705 | #DIV/0! | 22.5552 | 23.6564 | #DIV/0! | 22.5552 | 23.6564 | #DIV/0! | 76.8019 | 12.6924 | 13.0225 | 13.0225 | 12.4156 | 8.3376 | 68.2022 | 66.7384
Second extraction
Second extraction |  | DHA/Tsugar | Pred UMF |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | DHA(mg)/(F+G+S)(mg) | DHA(mg)/Honey(kg) | Predicted MGO in honey | Predicted UMF | MAD DHA/Tsugar | MAD Pred UMF
Robust Statistics |  |  |  |  | L3961-1a | 46 | 8.2 | 0 | 0.17826 | 0.00062264 | 354.7 | 325.2 | 931.6 | 0 | 0.38074 | 0.34908 | 0 | 0.017842 | 0.010621 | 0 | 1.6799 | 0.28462 | 0.0021876 | 1968.8245 | 444.7532 | 14.1113 | 0.00058082 | 2.2862
Median |  | 0.0024424 | 15.1331 |  | L3961-2a | 49.7 | 11.1 | 0 | 0.22334 | 0.00078009 | 330.4 | 302.7 | 920.5 | 0 | 0.35894 | 0.32884 | 0 | 0.01682 | 0.010005 | 0 | 1.6812 | 0.26825 | 0.0029081 | 2617.2866 | 582.5514 | 16.9274 | 0.00013969 | 0.52982
MAD |  | 0.00032605 | 1.2645 |  | L3961-3a | 49 | 9.2 | 0 | 0.18776 | 0.0006558 | 299.9 | 264 | 896.4 | 0 | 0.33456 | 0.29451 | 0 | 0.015678 | 0.0089604 | 0 | 1.7497 | 0.24638 | 0.0026617 | 2395.5572 | 535.4339 | 15.9901 | 0.00010667 | 0.40745
MADe |  | 0.00048353 | 1.8752 |  | L3961-4a | 49.2 | 6 | 0 | 0.12195 | 0.00042596 | 258.7 | 236.7 | 951.4 | 0 | 0.27192 | 0.24879 | 0 | 0.012742 | 0.0075694 | 0 | 1.6834 | 0.20311 | 0.0020971 | 1887.4111 | 427.4529 | 13.7417 | 0.00067128 | 2.6559
Count |  | 5 | 5 |  | L3961-5a | 47.9 | 9.6 | 0 | 0.20042 | 0.00070003 | 361.1 | 319.1 | 929.1 | 0 | 0.38866 | 0.34345 | 0 | 0.018213 | 0.010449 | 0 | 1.7429 | 0.28662 | 0.0024424 | 2198.1197 | 493.4784 | 15.1331 | 0.00032605 | 1.2645
95% confidence |  | 0.00042382 | 1.6436
Normal statistics
Normal Statistics |  |  |  |  | Average | 48.36 | 8.82 | 0 | 0.18234 | 0.0006369 | 320.96 | 289.54 | 925.8 | 0 | 0.34696 | 0.31293 | 0 | 0.016259 | 0.009521 | 0 | 1.7074 | 0.2578 | 0.0024594 | 2213.4398 | 496.734 | 15.1807 | 0.0003649 | 1.4288
Average |  | 0.0024594 | 15.1807 |  | Std Dev | 1.4741 | 1.89 | 0 | 0.037751 | 0.00013186 | 42.3041 | 37.9571 | 19.9521 | 0 | 0.046927 | 0.041666 | 0 | 0.002199 | 0.0012677 | 0 | 0.0356 | 0.034569 | 0.00033455 | 301.0918 | 63.982 | 1.3156 | 0.00025466 | 1.0148
Std Dev |  | 0.00033455 | 1.3156 |  | %RSD | 3.0482 | 21.4283 | #DIV/0! | 20.7031 | 20.7031 | 13.1805 | 13.1095 | 2.1551 | #DIV/0! | 13.5252 | 13.3147 | #DIV/0! | 13.5252 | 13.3147 | #DIV/0! | 2.085 | 13.4095 | 13.6029 | 13.6029 | 12.8805 | 8.666 | 69.7874 | 71.0265
%RSD |  | 13.6029 | 8.666
Count |  | 5 | 5
95% confidence |  | 0.00029324 | 1.1531

## L3998-2009
Sample | L3998 | Year | 2009
Standard Concentrations
GC FID Values
Sample | HA | DHA | MGO |  | PFBHA conc | 20 | mg/ml
L3998-1 | 40.8 | 12.1 | 0 |  | HA conc | 0.513 | mg/ml
L3998-2 | 42 | 13.7 | 0 |  | MGO conc | 1.9148 | mg/ml
L3998-3 | 43.3 | 10.4 | 0 |  | DHA 1 |  | mg/ml
L3998-4 | 43.8 | 11.6 | 0 |  | DHA 2 | 1.0069 | mg/ml
L3998-5 | 41.6 | 10.4 | 0 |  | DHA 3 |  | mg/ml
L3998-6 | 39.3 | 10.7 | 0
L3998-7 | 42.3 | 9.6 | 0
L3998-8 | 40.7 | 11.6 | 0
L3998-9 | 42.5 | 4.6 | 0
L3998-10 | 40.3 | 11.1 | 0 | [5 empty] | Volume Added |  |  | Amount Added |  |  | GC-FID area |  |  | HA Ratio
[8 empty] | Sample | HA (uL) | DHA(uL) | MGO(uL) | HA (mg) | DHA(mg) | MGO(mg) | HA | DHA | MGO | DHA/HA | MGO/HA
std1 | 34.5 | 0 | 69.8 |  |  |  |  | 1 | 10 | 0 | 10 | 0.00513 | 0 | 0.019148 | 34.5 | 0 | 69.8 | 0 | 2.0232
std2 | 38.1 | 16.6 | 77.7 |  | DHA gradient | 194.21 |  | 2 | 10 | 2 | 8 | 0.00513 | 0.0020137 | 0.015318 | 38.1 | 16.6 | 77.7 | 0.4357 | 2.0394
std3 | 42.3 | 32.3 | 47.5 |  | Mannitol conc | 5.045 |  | 3 | 10 | 4 | 6 | 0.00513 | 0.0040274 | 0.011489 | 42.3 | 32.3 | 47.5 | 0.76359 | 1.1229
std4 | 37 | 49.1 | 27.6 |  |  |  |  | 4 | 10 | 6 | 4 | 0.00513 | 0.0060412 | 0.0076592 | 37 | 49.1 | 27.6 | 1.327 | 0.74595
std5 | 39 | 64.1 | 10.1 |  |  |  |  | 5 | 10 | 8 | 2 | 0.00513 | 0.0080549 | 0.0038296 | 39 | 64.1 | 10.1 | 1.6436 | 0.25897
std6 | 43.6 | 78.4 | 0 |  |  |  |  | 6 | 10 | 10 | 0 | 0.00513 | 0.010069 | 0 | 43.6 | 78.4 | 0 | 1.7982 | 0
Sample | Fructose | Glucose | Mannitol | Surcose | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | DHA Mass Grubbs test | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | Sugar Grubbs Test | DHA(mg)/(F+G+S)(mg) | DHA(mg)/(F+G+S)(mg) values | Grubbs Single Outlier Test | Grubbs Two Outlier tests | Grubbs Outliers tests
L3998-1 | 313.7 | 251.4 | 556 | 0 | L3998-1 | 40.8 | 12.1 | 0 | 0.29657 | 0.0015271 | 0.82762 | 313.7 | 251.4 | 556 | 0 | 0.56421 | 0.45216 | 0 | 0.026677 | 0.013881 | 0 | 1.9219 | 0.40558 | 0.3447 | 0.0037651 | 0.0037651 | 0.070818 | High, Low outliers | Needs to exceed | 95% confidence | 99% confidence
L3998-2 | 296.9 | 229.9 | 495.6 | 0 | L3998-2 | 42 | 13.7 | 0 | 0.32619 | 0.0016796 | 1.354 | 296.9 | 229.9 | 495.6 | 0 | 0.59907 | 0.46388 | 0 | 0.028325 | 0.014241 | 0 | 1.9891 | 0.42566 | 0.60663 | 0.0039458 | 0.0031985 | 0.28054 | 0.27621 | Grubbs Single | 2.176 | 2.41
L3998-3 | 291.9 | 239.5 | 547.1 | 0 | L3998-3 | 43.3 | 10.4 | 0 | 0.24018 | 0.0012367 | 0.17434 | 291.9 | 239.5 | 547.1 | 0 | 0.53354 | 0.43776 | 0 | 0.025227 | 0.013439 | 0 | 1.8772 | 0.38666 | 0.097938 | 0.0031985 | 0.0039458 | 0.18286 |  | Grubbs High Low | 3.68 | 3.88
L3998-4 | 245.1 | 195.1 | 540.8 | 0 | L3998-4 | 43.8 | 11.6 | 0 | 0.26484 | 0.0013637 | 0.26379 | 245.1 | 195.1 | 540.8 | 0 | 0.45322 | 0.36076 | 0 | 0.021429 | 0.011075 | 0 | 1.9349 | 0.32504 | 0.70569 | 0.0041954 | 0.0026 | 0.65167 | Two High Outliers | Grubbs Two High/Low | 0.7695 | 0.8586
L3998-5 | 306.2 | 235.2 | 527.5 | 0 | L3998-5 | 41.6 | 10.4 | 0 | 0.25 | 0.0012873 | 7.7546e-05 | 306.2 | 235.2 | 527.5 | 0 | 0.58047 | 0.44588 | 0 | 0.027446 | 0.013688 | 0 | 2.0051 | 0.41134 | 0.41985 | 0.0031295 | 0.0014506 | 1.3644 | 0.0099126
L3998-6 | 288.2 | 234.3 | 493 | 0 | L3998-6 | 39.3 | 10.7 | 0 | 0.27226 | 0.0014019 | 0.39573 | 288.2 | 234.3 | 493 | 0 | 0.58458 | 0.47525 | 0 | 0.02764 | 0.01459 | 0 | 1.8945 | 0.4223 | 0.56282 | 0.0033197 | 0.0031295 | 0.32336
L3998-7 | 356.8 | 272.1 | 561.2 | 0 | L3998-7 | 42.3 | 9.6 | 0 | 0.22695 | 0.0011686 | 0.40953 | 356.8 | 272.1 | 561.2 | 0 | 0.63578 | 0.48485 | 0 | 0.030061 | 0.014884 | 0 | 2.0196 | 0.44945 | 0.91697 | 0.0026 | 0.0041954 | 0.33763 | Two Low Outliers
L3998-8 | 266.1 | 209 | 503.3 | 0 | L3998-8 | 40.7 | 11.6 | 0 | 0.23587 | 0.0012145 | 0.25098 | 266.1 | 209 | 503.3 | 0 | 0.52871 | 0.41526 | 0 | 0.024999 | 0.012748 | 0 | 1.961 | 0.37746 | 0.021947 | 0.0032176 | 0.0032176 | 0.26872 | 0.77396
L3998-9 | 133.7 | 114.6 | 538.2 | 0 | L3998-9 | 42.5 | 4.6 | 0 | 0.27294 | 0.0014054 | 0.40775 | 133.7 | 114.6 | 538.2 | 0 | 0.24842 | 0.21293 | 0 | 0.011746 | 0.0065367 | 0 | 1.7969 | 0.18283 | 2.5605 | 0.0076871 | 0.0076871 | 2.5027
L3998-10 | 287.7 | 234.2 | 513.2 | 0 | L3998-10 | 40.3 | 11.1 | 0 | 0.11414 | 0.00058773 | 2.4141 | 287.7 | 234.2 | 513.2 | 0 | 0.5606 | 0.45635 | 0 | 0.026506 | 0.014009 | 0 | 1.892 | 0.40516 | 0.33924 | 0.0014506 | 0.0033197 | 0.20539
Mannitol | 0 | 0 | 544.2 | 0 | Normal statistics
Mix |  |  |  |  | Average | 41.66 | 10.5222 | 0 | 0.25 | 0.0012872 |  | 278.63 | 221.53 | 527.59 | 0 | 0.52886 | 0.42051 | 0 | 0.025006 | 0.012909 | 0 | 1.9292 | 0.37915 |  | 0.0036509 | 0.0036509
[5 empty] | Std Dev | 1.3978 | 2.5223 | 0 | 0.056273 | 0.00028975 |  | 58.7559 | 43.002 | 24.992 | 0 | 0.10994 | 0.080919 | 0 | 0.0051981 | 0.0024841 | 0 | 0.06784 | 0.076673 |  | 0.0016127 | 0.0016127
[5 empty] | %RSD | 3.3552 | 23.9711 | #DIV/0! | 22.5096 | 22.5096 |  | 21.0874 | 19.4114 | 4.737 | #DIV/0! | 20.7877 | 19.2432 | #DIV/0! | 20.7877 | 19.2432 | #DIV/0! | 3.5164 | 20.2225 |  | 44.1718 | 44.1718
1st extraction |  | DHA/Tsugar | Pred UMF |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | DHA(mg)/(F+G+S)(mg) | DHA(mg)/Honey(kg) | Predicted MGO in honey | Predicted UMF | MAD DHA/Tsugar | MAD Pred UMF
Robust Statistics |  |  |  |  | L3998-1 | 40.8 | 12.1 | 0 | 0.29657 | 0.0015271 | 313.7 | 251.4 | 556 | 0 | 0.56421 | 0.45216 | 0 | 0.026677 | 0.013881 | 0 | 1.9219 | 0.40558 | 0.0037651 | 3388.6302 | 746.4619 | 19.9804 | 0.00035507 | 1.2275
Median |  | 0.0034101 | 18.7528 |  | L3998-2 | 42 | 13.7 | 0 | 0.32619 | 0.0016796 | 296.9 | 229.9 | 495.6 | 0 | 0.59907 | 0.46388 | 0 | 0.028325 | 0.014241 | 0 | 1.9891 | 0.42566 | 0.0039458 | 3551.2442 | 781.0174 | 20.5828 | 0.00053576 | 1.83
MAD |  | 0.00035841 | 1.2657 |  | L3998-3 | 43.3 | 10.4 | 0 | 0.24018 | 0.0012367 | 291.9 | 239.5 | 547.1 | 0 | 0.53354 | 0.43776 | 0 | 0.025227 | 0.013439 | 0 | 1.8772 | 0.38666 | 0.0031985 | 2878.6684 | 638.095 | 17.998 | 0.00021155 | 0.7548
MADe |  | 0.00053153 | 1.877 |  | L3998-4 | 43.8 | 11.6 | 0 | 0.26484 | 0.0013637 | 245.1 | 195.1 | 540.8 | 0 | 0.45322 | 0.36076 | 0 | 0.021429 | 0.011075 | 0 | 1.9349 | 0.32504 | 0.0041954 | 3775.8855 | 828.7537 | 21.3916 | 0.00078536 | 2.6387
Count |  | 10 | 10 |  | L3998-5 | 41.6 | 10.4 | 0 | 0.25 | 0.0012873 | 306.2 | 235.2 | 527.5 | 0 | 0.58047 | 0.44588 | 0 | 0.027446 | 0.013688 | 0 | 2.0051 | 0.41134 | 0.0031295 | 2816.5154 | 624.8875 | 17.7468 | 0.00028061 | 1.006
95% confidence |  | 0.00032944 | 1.1634 |  | L3998-6 | 39.3 | 10.7 | 0 | 0.27226 | 0.0014019 | 288.2 | 234.3 | 493 | 0 | 0.58458 | 0.47525 | 0 | 0.02764 | 0.01459 | 0 | 1.8945 | 0.4223 | 0.0033197 | 2987.7307 | 661.2708 | 18.4338 | 9.0371e-05 | 0.31901
[5 empty] | L3998-7 | 42.3 | 9.6 | 0 | 0.22695 | 0.0011686 | 356.8 | 272.1 | 561.2 | 0 | 0.63578 | 0.48485 | 0 | 0.030061 | 0.014884 | 0 | 2.0196 | 0.44945 | 0.0026 | 2340.0064 | 523.6294 | 15.7511 | 0.00081006 | 3.0017
Normal Statistics |  |  |  |  | L3998-8 | 40.7 | 11.6 | 0 | 0.28501 | 0.0014675 | 266.1 | 209 | 503.3 | 0 | 0.52871 | 0.41526 | 0 | 0.024999 | 0.012748 | 0 | 1.961 | 0.37746 | 0.0038879 | 3499.1209 | 769.9412 | 20.3913 | 0.00047784 | 1.6384
Average |  | 0.0034591 | 18.8797 |  | L3998-9 | 42.5 | 4.6 | 0 | 0.10824 | 0.00055731 | 133.7 | 114.6 | 538.2 | 0 | 0.24842 | 0.21293 | 0 | 0.011746 | 0.0065367 | 0 | 1.7969 | 0.18283 | 0.0030483 | 2743.4873 | 609.369 | 17.4489 | 0.00036175 | 1.3039
Std Dev |  | 0.00049002 | 1.7268 |  | L3998-10 | 40.3 | 11.1 | 0 | 0.27543 | 0.0014182 | 287.7 | 234.2 | 513.2 | 0 | 0.5606 | 0.45635 | 0 | 0.026506 | 0.014009 | 0 | 1.892 | 0.40516 | 0.0035004 | 3150.3981 | 695.8376 | 19.0718 | 9.0371e-05 | 0.31901
%RSD |  | 14.1663 | 9.1466
Count |  | 10 | 10 |  | Normal statistics
95% confidence |  | 0.00030371 | 1.0703 |  | Average | 41.66 | 10.5222 | 0 | 0.25457 | 0.0013108 | 278.63 | 221.53 | 527.59 | 0 | 0.52886 | 0.42051 | 0 | 0.025006 | 0.012909 | 0 | 1.9292 | 0.37915 | 0.0034591 | 3113.1687 | 687.9263 | 18.8797 | 0.00039987 | 1.4039
[5 empty] | Std Dev | 1.3978 | 2.5223 | 0 | 0.058764 | 0.00030258 | 58.7559 | 43.002 | 24.992 | 0 | 0.10994 | 0.080919 | 0 | 0.0051981 | 0.0024841 | 0 | 0.06784 | 0.076673 | 0.00049002 | 441.0216 | 93.7171 | 1.7268 | 0.0002552 | 0.89994
[5 empty] | %RSD | 3.3552 | 23.9711 | #DIV/0! | 23.0837 | 23.0837 | 21.0874 | 19.4114 | 4.737 | #DIV/0! | 20.7877 | 19.2432 | #DIV/0! | 20.7877 | 19.2432 | #DIV/0! | 3.5164 | 20.2225 | 14.1663 | 14.1663 | 13.6231 | 9.1466 | 63.8193 | 64.1025
Second extraction
Second extraction |  | DHA/Tsugar | Pred UMF |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | DHA(mg)/(F+G+S)(mg) | DHA(mg)/Honey(kg) | Predicted MGO in honey | Predicted UMF | MAD DHA/Tsugar | MAD Pred UMF
Robust Statistics |  |  |  |  | L3998-8a | 38.1 | 5.3 | 0 | 0.13911 | 0.00071627 | 159.5 | 128.5 | 534.7 | 0 | 0.2983 | 0.24032 | 0 | 0.014104 | 0.0073775 | 0 | 1.9118 | 0.21482 | 0.0033343 | 3000.913 | 664.072 | 18.4861 | 0.00024237 | 0.87651
Median |  | 0.003092 | 17.6096 |  | L3998-9a | 39.7 | 4.1 | 0 | 0.10327 | 0.00053177 | 139.7 | 106.6 | 510.8 | 0 | 0.27349 | 0.20869 | 0 | 0.012931 | 0.0064065 | 0 | 2.0185 | 0.19338 | 0.0027499 | 2474.8908 | 552.2923 | 16.3285 | 0.0003421 | 1.281
MAD |  | 0.00024237 | 0.87651 |  | L3998-10a | 41.7 | 5 | 0 | 0.1199 | 0.00061739 | 142.9 | 119.5 | 522.1 | 0 | 0.2737 | 0.22888 | 0 | 0.012941 | 0.0070264 | 0 | 1.8418 | 0.19968 | 0.003092 | 2782.7795 | 617.7186 | 17.6096 | 0 | 0
MADe |  | 0.00035944 | 1.2999
Count |  | 3 | 3 |  | Normal statistics
95% confidence |  | 0.00040673 | 1.4709 |  | Average | 39.8333 | 4.8 | 0 | 0.12076 | 0.00062181 | 147.3667 | 118.2 | 522.5333 | 0 | 0.28183 | 0.22597 | 0 | 0.013326 | 0.0069368 | 0 | 1.924 | 0.20262 | 0.0030587 | 2752.8611 | 611.361 | 17.4747 | 0.00019482 | 0.71918
[5 empty] | Std Dev | 1.8037 | 0.6245 | 0 | 0.017932 | 9.2333e-05 | 10.6289 | 11.0077 | 11.9559 | 0 | 0.014261 | 0.016015 | 0 | 0.0006743 | 0.00049165 | 0 | 0.088957 | 0.011019 | 0.00029365 | 264.2843 | 56.1604 | 1.0851 | 0.00017594 | 0.65485
Normal Statistics |  |  |  |  | %RSD | 4.5281 | 13.0104 | #DIV/0! | 14.849 | 14.849 | 7.2125 | 9.3128 | 2.2881 | #DIV/0! | 5.0602 | 7.0875 | #DIV/0! | 5.0602 | 7.0875 | #DIV/0! | 4.6235 | 5.4381 | 9.6003 | 9.6003 | 9.1861 | 6.2094 | 90.3055 | 91.0549
Average |  | 0.0030587 | 17.4747
Std Dev |  | 0.00029365 | 1.0851
%RSD |  | 9.6003 | 6.2094
Count |  | 3 | 3
95% confidence |  | 0.00033229 | 1.2279