## Squence Stability
Sample | L3986 | Year | 2010
Standard Concentrations
GC FID Values
Sample | HA | DHA | MGO |  |  | PFBHA conc | 20 | mg/ml
L3986-1 | 81.3418 | 14.517 | 0 |  |  | HA conc | 0.5256 | mg/ml
L3986-2 | 68.9253 | 10.1036 | 0 |  |  | MGO conc | 1.4392 | mg/ml
L3986-3 | 74.3323 | 10.2693 | 0 |  |  | DHA 1 | 0.03201 | mg/ml
L3986-4 | 70.0091 | 14.5565 | 0 |  |  | DHA 2 | 0.47287 | mg/ml
L3986-5 | 73.6628 | 14.6123 | 0 |  |  | DHA 3 | 2.9847 | mg/ml
L3986-6 | 69.5362 | 12.0936 | 0
L3986-7 | 71.911 | 8.2038 | 0
L3986-8 | 77.836 | 16.8618 | 0
L3986-9 | 63.0848 | 10.678 | 0
L3986-10 | 61.5542 | 15.1591 | 0 | [6 empty] | Volume Added |  |  | Amount Added |  |  | GC-FID area |  |  | HA Ratio
[9 empty] | Sample | HA (uL) | DHA(uL) | MGO(uL) | HA (mg) | DHA(mg) | MGO(mg) | HA | DHA | MGO | DHA/HA | MGO/HA
std1 | 69.8 | 0 | 57.5504 | [5 empty] | 1 | 10 | 0 | 10 | 0.005256 | 0 | 0.014392 | 69.8 | 0 | 57.5504 | 0 | 0.8245
std2 | 65.4943 | 1.6679 | 60.0308 |  |  | DHA gradient | 216.34 |  | 2 | 10 | 10 | 8 | 0.005256 | 0.0003201 | 0.011514 | 65.4943 | 1.6679 | 60.0308 | 0.025466 | 0.91658
std3 | 67.0278 | 32.0115 | 52.8194 |  |  | Mannitol conc | 5 |  | 3 | 10 | 5 | 6 | 0.005256 | 0.0023644 | 0.0086352 | 67.0278 | 32.0115 | 52.8194 | 0.47759 | 0.78802
std4 | 74.3165 | 75.6402 | 38.3055 | [5 empty] | 4 | 10 | 10 | 4 | 0.005256 | 0.0047288 | 0.0057568 | 74.3165 | 75.6402 | 38.3055 | 1.0178 | 0.51544
std5 | 61.1434 | 203.145 | 17.0897 | [5 empty] | 5 | 10 | 5 | 2 | 0.005256 | 0.014923 | 0.0028784 | 61.1434 | 203.145 | 17.0897 | 3.3224 | 0.2795
std6 | 68.177 | 437.282 | 0 | [5 empty] | 6 | 10 | 10 | 0 | 0.005256 | 0.029847 | 0 | 68.177 | 437.282 | 0 | 6.4139 | 0
Sample | Fructose | Glucose | Mannitol | Surcose |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | DHA Mass Grubbs test | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | Sugar Grubbs Test | DHA(mg)/(F+G+S)(mg) | DHA(mg)/(F+G+S)(mg) values | Grubbs Single Outlier Test | Grubbs Two Outlier tests | Grubbs Outliers tests
L3986-1 | 714.657 | 674.05 | 910.57 | 0 |  | L3986-1 | 81.3418 | 14.517 | 0 | 0.17847 | 0.00082495 | 0.012533 | 714.657 | 674.05 | 910.57 | 0 | 0.78485 | 0.74025 | 0 | 0.036778 | 0.022522 | 0 | 1.633 | 0.593 | 0.46508 | 0.0013911 | 0.0018893 | 2.0964 | High, Low outliers | Needs to exceed | 95% confidence | 99% confidence
L3986-2 | 669.92 | 616.085 | 816.089 | 0 |  | L3986-2 | 68.9253 | 10.1036 | 0 | 0.14659 | 0.00067758 | 0.81495 | 669.92 | 616.085 | 816.089 | 0 | 0.82089 | 0.75492 | 0 | 0.038467 | 0.022968 | 0 | 1.6748 | 0.61436 | 0.057765 | 0.0011029 | 0.001554 | 0.82681 | 3.5194 | Grubbs Single | 2.176 | 2.41
L3986-3 | 700.668 | 657.976 | 896.633 | 0 |  | L3986-3 | 74.3323 | 10.2693 | 0 | 0.13815 | 0.0006386 | 1.0272 | 700.668 | 657.976 | 896.633 | 0 | 0.78144 | 0.73383 | 0 | 0.036619 | 0.022327 | 0 | 1.6401 | 0.58945 | 0.53275 | 0.0010834 | 0.0014254 | 0.3396 |  | Grubbs High Low | 3.68 | 3.88
L3986-4 | 830.859 | 829.706 | 893.087 | 0 |  | L3986-4 | 70.0091 | 14.5565 | 0 | 0.20792 | 0.00096109 | 0.72878 | 830.859 | 829.706 | 893.087 | 0 | 0.93032 | 0.92903 | 0 | 0.043595 | 0.028266 | 0 | 1.5423 | 0.71861 | 1.9307 | 0.0013374 | 0.0013911 | 0.20986 | Two High Outliers | Grubbs Two High/Low | 0.7695 | 0.8586
L3986-5 | 686.865 | 658.864 | 885.261 | 0 |  | L3986-5 | 73.6628 | 14.6123 | 0 | 0.19837 | 0.00091692 | 0.48828 | 686.865 | 658.864 | 885.261 | 0 | 0.77589 | 0.74426 | 0 | 0.036358 | 0.022644 | 0 | 1.6057 | 0.59002 | 0.52186 | 0.001554 | 0.0013374 | 0.0064819 | 0.68295
L3986-6 | 774.87 | 748.848 | 981.256 | 0 |  | L3986-6 | 69.5362 | 12.0936 | 0 | 0.17392 | 0.00080391 | 0.12708 | 774.87 | 748.848 | 981.256 | 0 | 0.78967 | 0.76315 | 0 | 0.037004 | 0.023219 | 0 | 1.5937 | 0.60223 | 0.28905 | 0.0013349 | 0.0013349 | 0.0031691
L3986-7 | 673.768 | 692.729 | 958.452 | 0 |  | L3986-7 | 71.911 | 8.2038 | 0 | 0.11408 | 0.00052733 | 1.6331 | 673.768 | 692.729 | 958.452 | 0 | 0.70298 | 0.72276 | 0 | 0.032942 | 0.02199 | 0 | 1.498 | 0.54931 | 1.2983 | 0.00095998 | 0.0012788 | 0.21554 | Two Low Outliers
L3986-8 | 877.765 | 879.01 | 966.197 | 0 |  | L3986-8 | 77.836 | 16.8618 | 0 | 0.21663 | 0.0010014 | 0.94799 | 877.765 | 879.01 | 966.197 | 0 | 0.90847 | 0.90976 | 0 | 0.042571 | 0.027679 | 0 | 1.538 | 0.70251 | 1.6236 | 0.0014254 | 0.0011029 | 0.8817 | 0.40507
L3986-9 | 760.73 | 732.056 | 946.7 | 0 |  | L3986-9 | 63.0848 | 10.678 | 0 | 0.16926 | 0.0007824 | 0.24421 | 760.73 | 732.056 | 946.7 | 0 | 0.80356 | 0.77327 | 0 | 0.037655 | 0.023527 | 0 | 1.6005 | 0.61182 | 0.1062 | 0.0012788 | 0.0010834 | 0.95571
L3986-10 | 714.489 | 696.153 | 907.19 | 0 |  | L3986-10 | 61.5542 | 15.1591 | 0 | 0.24627 | 0.0011384 | 1.694 | 714.489 | 696.153 | 907.19 | 0 | 0.78758 | 0.76737 | 0 | 0.036907 | 0.023347 | 0 | 1.5808 | 0.60254 | 0.28321 | 0.0018893 | 0.00095998 | 1.423
Mannitol | 0 | 0 | 899.099 | 0 |  | Normal statistics
Mix | 1052.55 | 1424.737 | 911.358 | 1200.29 |  | Average | 71.2193 | 12.7055 | 0 | 0.17897 | 0.00082725 |  | 740.4591 | 718.5477 | 916.1435 | 0 | 0.80857 | 0.78386 | 0 | 0.03789 | 0.023849 | 0 | 1.5907 | 0.61738 |  | 0.0013357 | 0.0013357
[6 empty] | Std Dev | 6.0693 | 2.8106 | 0 | 0.039732 | 0.00018365 |  | 69.7929 | 81.7059 | 48.8272 | 0 | 0.066077 | 0.073244 | 0 | 0.0030964 | 0.0022284 | 0 | 0.053156 | 0.052429 |  | 0.00026405 | 0.00026405
[6 empty] | %RSD | 8.522 | 22.1209 | #DIV/0! | 22.2006 | 22.2006 |  | 9.4256 | 11.371 | 5.3296 | #DIV/0! | 8.1722 | 9.3441 | #DIV/0! | 8.1722 | 9.3441 | #DIV/0! | 3.3417 | 8.4921 |  | 19.7684 | 19.7684
|  | DHA/Tsugar |  |  |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | DHA(mg)/(F+G+S)(mg) | MAD DHA/Tsugar
Robust Statistics | [5 empty] | L3986-1 | 81.3418 | 14.517 | 0 | 0.17847 | 0.00082495 | 714.657 | 674.05 | 910.57 | 0 | 0.78485 | 0.74025 | 0 | 0.036778 | 0.022522 | 0 | 1.633 | 0.593 | 0.0013911 | 5.4977e-05
Median |  | 0.0013362 |  |  |  | L3986-2 | 68.9253 | 10.1036 | 0 | 0.14659 | 0.00067758 | 669.92 | 616.085 | 816.089 | 0 | 0.82089 | 0.75492 | 0 | 0.038467 | 0.022968 | 0 | 1.6748 | 0.61436 | 0.0011029 | 0.00023325
MAD |  | 0.00015356 |  |  |  | L3986-3 | 74.3323 | 10.2693 | 0 | 0.13815 | 0.0006386 | 700.668 | 657.976 | 896.633 | 0 | 0.78144 | 0.73383 | 0 | 0.036619 | 0.022327 | 0 | 1.6401 | 0.58945 | 0.0010834 | 0.00025279
MADe |  | 0.00022773 |  |  |  | L3986-4 | 70.0091 | 14.5565 | 0 | 0.20792 | 0.00096109 | 830.859 | 829.706 | 893.087 | 0 | 0.93032 | 0.92903 | 0 | 0.043595 | 0.028266 | 0 | 1.5423 | 0.71861 | 0.0013374 | 1.2742e-06
Count |  | 10 |  |  |  | L3986-5 | 73.6628 | 14.6123 | 0 | 0.19837 | 0.00091692 | 686.865 | 658.864 | 885.261 | 0 | 0.77589 | 0.74426 | 0 | 0.036358 | 0.022644 | 0 | 1.6057 | 0.59002 | 0.001554 | 0.00021788
95% confidence |  | 0.00014114 |  |  |  | L3986-6 | 69.5362 | 12.0936 | 0 | 0.17392 | 0.00080391 | 774.87 | 748.848 | 981.256 | 0 | 0.78967 | 0.76315 | 0 | 0.037004 | 0.023219 | 0 | 1.5937 | 0.60223 | 0.0013349 | 1.2742e-06
[6 empty] | L3986-7 | 71.911 | 8.2038 | 0 | 0.11408 | 0.00052733 | 673.768 | 692.729 | 958.452 | 0 | 0.70298 | 0.72276 | 0 | 0.032942 | 0.02199 | 0 | 1.498 | 0.54931 | 0.00095998 | 0.00037618
Normal Statistics | [5 empty] | L3986-8 | 77.836 | 16.8618 | 0 | 0.21663 | 0.0010014 | 877.765 | 879.01 | 966.197 | 0 | 0.90847 | 0.90976 | 0 | 0.042571 | 0.027679 | 0 | 1.538 | 0.70251 | 0.0014254 | 8.9233e-05
Average |  | 0.0013357 |  |  |  | L3986-9 | 63.0848 | 10.678 | 0 | 0.16926 | 0.0007824 | 760.73 | 732.056 | 946.7 | 0 | 0.80356 | 0.77327 | 0 | 0.037655 | 0.023527 | 0 | 1.6005 | 0.61182 | 0.0012788 | 5.7351e-05
Std Dev |  | 0.00026405 |  |  |  | L3986-10 | 61.5542 | 15.1591 | 0 | 0.24627 | 0.0011384 | 714.489 | 696.153 | 907.19 | 0 | 0.78758 | 0.76737 | 0 | 0.036907 | 0.023347 | 0 | 1.5808 | 0.60254 | 0.0018893 | 0.00055311
%RSD |  | 19.7684
Count |  | 10 |  |  |  | Normal statistics
95% confidence |  | 0.00016366 |  |  |  | Average | 71.2193 | 12.7055 | 0 | 0.17897 | 0.00082725 | 740.4591 | 718.5477 | 916.1435 | 0 | 0.80857 | 0.78386 | 0 | 0.03789 | 0.023849 | 0 | 1.5907 | 0.61738 | 0.0013357 | 0.00018373
[6 empty] | Std Dev | 6.0693 | 2.8106 | 0 | 0.039732 | 0.00018365 | 69.7929 | 81.7059 | 48.8272 | 0 | 0.066077 | 0.073244 | 0 | 0.0030964 | 0.0022284 | 0 | 0.053156 | 0.052429 | 0.00026405 | 0.00017948
[6 empty] | %RSD | 8.522 | 22.1209 | #DIV/0! | 22.2006 | 22.2006 | 9.4256 | 11.371 | 5.3296 | #DIV/0! | 8.1722 | 9.3441 | #DIV/0! | 8.1722 | 9.3441 | #DIV/0! | 3.3417 | 8.4921 | 19.7684 | 97.6871
[5 empty] | Sequence posistion | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | DHA(mg)/(F+G+S)(mg)
[5 empty] | Beginning | L3986-1 | 81.3418 | 14.517 | 0 | 0.17847 | 0.00082495 | 714.657 | 674.058 | 910.57 | 0 | 0.78485 | 0.74026 | 0 | 0.036778 | 0.022522 | 0 | 1.633 | 0.593 | 0.0013911
[5 empty] | End | L3986-1 | 82.7345 | 14.9373 | 0 | 0.18054 | 0.00083454 | 721.935 | 717.826 | 908.255 | 0 | 0.79486 | 0.79034 | 0 | 0.037247 | 0.024046 | 0 | 1.549 | 0.61293 | 0.0013616
[5 empty] | Beginning | L3986-2 | 68.9253 | 10.1036 | 0 | 0.14659 | 0.00067758 | 669.92 | 616.085 | 816.089 | 0 | 0.82089 | 0.75492 | 0 | 0.038467 | 0.022968 | 0 | 1.6748 | 0.593 | 0.0011426
[5 empty] | End | L3986-2 | 69.443 | 10.4746 | 0 | 0.15084 | 0.00069722 | 728.78 | 699.071 | 912.089 | 0 | 0.79902 | 0.76645 | 0 | 0.037442 | 0.023319 | 0 | 1.6057 | 0.61293 | 0.0011375