## Section 3.6.1
Standard curve for the 20 SFT
Standard Concentrations
PFBHA conc | 20 | mg/ml
HA conc | 0.3861 | mg/ml
MGO conc | 2.8958 | mg/ml
DHA | 0.9346 | mg/ml
|  |  |  | Volume Added |  | Amount Added |  | GC-FID area
DHA gradient | 297.48 |  | Sample | HA (uL) | DHA(uL) | HA (mg) | DHA(mg) | HA | DHA | DHA/HA
Mannitol conc | 5 |  | 1 | 10 | 0 | 0.003861 | 0 | 49.8 | 0 | 0
|  |  | 2 | 10 | 2 | 0.003861 | 0.0018692 | 51 | 26.1 | 0.51176
|  |  | 3 | 10 | 4 | 0.003861 | 0.0037384 | 51.2 | 52.6 | 1.0273
|  |  | 4 | 10 | 6 | 0.003861 | 0.0056076 | 47.5 | 78.4 | 1.6505
|  |  | 5 | 10 | 8 | 0.003861 | 0.0074768 | 44.6 | 102 | 2.287
|  |  | 6 | 10 | 10 | 0.003861 | 0.009346 | 45.7 | 127.2 | 2.7834
Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 400uL | Grubbs Outlier Test | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 50ul | Mass (mg) of Glucose in 50ul | Mass (mg) of Sucrose in 50ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 400uL | Grubbs Outlier Test | DHA(mg)/(F+G+S)(mg) | Grubbs Outlier Test
SFT-1 | 91 | 3.2 | 0 | 0.035165 | 0.0001229 | 0.12174 | 280.1 | 234.6 | 948.5 | 0 | 0.29531 | 0.24734 | 0 | 0.013838 | 0.0075252 | 0 | 1.8389 | 0.17091 | 0.58473 | 0.00071909 | 0.021216
SFT-2 | 96.9 | 1.2 | 0 | 0.012384 | 4.3281e-05 | 1.1238 | 181.9 | 181.5 | 951.3 | 0 | 0.19121 | 0.19079 | 0 | 0.0089603 | 0.0058048 | 0 | 1.5436 | 0.11812 | 0.20466 | 0.00036641 | 0.90693
SFT-3 | 96.9 | 2.8 | 0 | 0.028896 | 0.00010099 | 0.221 | 215.2 | 210.4 | 894.4 | 0 | 0.24061 | 0.23524 | 0 | 0.011275 | 0.0071572 | 0 | 1.5753 | 0.14746 | 0.23405 | 0.00068486 | 0.10717
SFT-4 | 101.5 | 2.3 | 0 | 0.02266 | 7.9195e-05 | 0.56193 | 228.1 | 210.1 | 937.7 | 0 | 0.24325 | 0.22406 | 0 | 0.011399 | 0.0068169 | 0 | 1.6722 | 0.14573 | 0.20818 | 0.00054345 | 0.46233
SFT-5 | 106.7 | 2.6 | 0 | 0.024367 | 8.5162e-05 | 0.46858 | 331.3 | 304.7 | 936.8 | 0 | 0.35365 | 0.32526 | 0 | 0.016572 | 0.0098958 | 0 | 1.6747 | 0.21174 | 1.1954 | 0.00040219 | 0.81707
SFT-6 | 102.8 | 3.2 | 0 | 0.031128 | 0.00010879 | 0.098939 | 275.5 | 253.6 | 928 | 0 | 0.29688 | 0.27328 | 0 | 0.013912 | 0.0083143 | 0 | 1.6732 | 0.17781 | 0.68792 | 0.00061185 | 0.29055
SFT-7 | 98 | 6.1 | 0 | 0.062245 | 0.00021754 | 1.6023 | 224.2 | 168 | 936.2 | 0 | 0.23948 | 0.17945 | 0 | 0.011222 | 0.0054597 | 0 | 2.0554 | 0.13345 | 0.024642 | 0.0016301 | 2.2666
SFT-8 | 98 | 3.1 | 0 | 0.031633 | 0.00011055 | 0.071371 | 187.4 | 182.8 | 958.1 | 0 | 0.1956 | 0.19079 | 0 | 0.0091657 | 0.0058049 | 0 | 1.579 | 0.11976 | 0.18008 | 0.00092309 | 0.49111
SFT-9 | 102.1 |  | 0 | 0 |  | 1.8008 | 13.8 | 17.2 | 940.5 | 0 | 0.014673 | 0.018288 | 0 | 0.00068758 | 0.00055641 | 0 | 1.2357 | 0.009952 | 1.8222
SFT-10 | 100.2 |  | 0 | 0 |  | 1.8008 | 20.3 | 23.4 | 934.4 | 0 | 0.021725 | 0.025043 | 0 | 0.001018 | 0.00076192 | 0 | 1.3362 | 0.01424 | 1.7581
SFT-11 | 100 | 5.5 | 0 | 0.055 | 0.00019222 | 1.2062 | 255.1 | 196 | 949.5 | 0 | 0.26867 | 0.20642 | 0 | 0.01259 | 0.0062804 | 0 | 2.0046 | 0.15096 | 0.28646 | 0.0012733 | 1.3706
SFT-12 | 97 | 1.6 | 0 | 0.016495 | 5.7648e-05 | 0.899 | 242.1 | 255 | 925.7 | 0 | 0.26153 | 0.27547 | 0 | 0.012255 | 0.008381 | 0 | 1.4623 | 0.16509 | 0.49776 | 0.00034919 | 0.95019
SFT-13 | 96.1 | 1.4 | 0 | 0.014568 | 5.0914e-05 | 1.0043 | 221.2 | 147.1 | 963.4 | 0 | 0.2296 | 0.15269 | 0 | 0.010759 | 0.0046455 | 0 | 2.3161 | 0.12324 | 0.12812 | 0.00041314 | 0.78958
SFT-14 | 97.7 |  | 0 | 0 |  | 1.8008 | 57.1 | 69.3 | 936.5 | 0 | 0.060972 | 0.073999 | 0 | 0.0028572 | 0.0022514 | 0 | 1.2691 | 0.040868 | 1.3599
SFT-15 | 95.4 | 5.9 | 0 | 0.061845 | 0.00021614 | 1.5804 | 289.3 | 219.4 | 959.8 | 0 | 0.30142 | 0.22859 | 0 | 0.014125 | 0.0069548 | 0 | 2.0309 | 0.16863 | 0.55074 | 0.0012817 | 1.3918
SFT-16 | 97.1 | 4.1 | 0 | 0.042225 | 0.00014757 | 0.50772 | 357 | 335.6 | 937.6 | 0 | 0.38076 | 0.35794 | 0 | 0.017843 | 0.01089 | 0 | 1.6384 | 0.22986 | 1.4663 | 0.000642 | 0.21482
SFT-17 | 103.7 | 1.3 | 0 | 0.012536 | 4.3813e-05 | 1.1154 | 133.6 | 143.6 | 934.4 | 0 | 0.14298 | 0.15368 | 0 | 0.0067001 | 0.0046757 | 0 | 1.4329 | 0.091006 | 0.61013 | 0.00048143 | 0.61809
SFT-18 | 93.7 | 5.7 | 0 | 0.060832 | 0.0002126 | 1.5251 | 313.8 | 268.4 | 909.5 | 0 | 0.34502 | 0.29511 | 0 | 0.016168 | 0.0089786 | 0 | 1.8007 | 0.20117 | 1.0373 | 0.0010568 | 0.82697
SFT-19 | 99.8 | 1.5 | 0 | 0.01503 | 5.2529e-05 | 0.97908 | 294.8 | 312.1 | 930.1 | 0 | 0.31696 | 0.33556 | 0 | 0.014853 | 0.010209 | 0 | 1.4548 | 0.20049 | 1.0272 | 0.000262 | 1.1692
SFT-20 | 102.8 |  | 0 | 0 |  | 1.8008 | 19.9 | 30.6 | 954.5 | 0 | 0.020849 | 0.032059 | 0 | 0.00097697 | 0.00097538 | 0 | 1.0016 | 0.015619 | 1.7375
Average | 98.87 | 3.2188 | 0 | 0.02635 | 0.00011512 |  | 207.085 | 188.17 | 938.345 | 0 | 0.22106 | 0.20105 | 0 | 0.010359 | 0.006117 | 0 | 1.6298 | 0.13181 |  | 0.00072754 |  | multiply by 0.70
Std Dev | 3.7165 | 1.7452 | 0 | 0.021139 | 6.3924e-05 |  | 106.2498 | 94.456 | 16.6701 | 0 | 0.11384 | 0.10175 | 0 | 0.0053346 | 0.0030957 | 0 | 0.31696 | 0.066871 |  | 0.00039819
%RSD | 3.759 | 54.2189 | #DIV/0! | 80.2207 | 55.5302 |  | 51.3073 | 50.1972 | 1.7765 | #DIV/0! | 51.4985 | 50.6079 | #DIV/0! | 51.4985 | 50.6079 | #DIV/0! | 19.4482 | 50.7341 |  | 54.7305