## VB013-2011 white to pink
Sample | VB013 | Year | 2011
Standard Concentrations
GC FID Values
Sample | HA | DHA | MGO |  | PFBHA conc | 20 | mg/ml
VB013-1 | 118.2 | 2.7 | 0 |  | HA conc | 0.5202 | mg/ml
VB013-2 | 131.9 | 11.3 | 0 |  | MGO conc | 1.8772 | mg/ml
VB013-3 | 133.8 | 8.2 | 0 |  | DHA 1 |  | mg/ml
VB013-4 | 134.4 | 24.2 | 0 |  | DHA 2 | 1.293 | mg/ml
VB013-5 | 133.1 | 12.9 | 0 |  | DHA 3 |  | mg/ml
VB013-6 | 140 | 30.8 | 0
VB013-7 | 136.5 | 3.4 | 0
VB013-8 | 134.5 | 1 | 0
VB013-9 | 135.3 | 1.1 | 0
VB013-10 | 99.9 | 0.66 | 0 | [5 empty] | Volume Added |  |  | Amount Added |  |  | GC-FID area |  |  | HA Ratio
[8 empty] | Sample | HA (uL) | DHA(uL) | MGO(uL) | HA (mg) | DHA(mg) | MGO(mg) | HA | DHA | MGO | DHA/HA | MGO/HA
std1 | 126.4 | 0 | 226.7 |  |  |  |  | 1 | 10 | 0 | 10 | 0.005202 | 0 | 0.018772 | 126.4 | 0 | 226.7 | 0 | 1.7935
std2 | 133.9 | 177.3 | 210.8 |  | DHA gradient | 453.64 |  | 2 | 10 | 2 | 8 | 0.005202 | 0.002586 | 0.015018 | 133.9 | 177.3 | 210.8 | 1.3241 | 1.5743
std3 | 138 | 336.1 | 150.9 |  | Mannitol conc | 5.109 |  | 3 | 10 | 4 | 6 | 0.005202 | 0.005172 | 0.011263 | 138 | 336.1 | 150.9 | 2.4355 | 1.0935
std4 | 137 | 501 | 149 |  |  |  |  | 4 | 10 | 6 | 4 | 0.005202 | 0.0077581 | 0.0075088 | 137 | 501 | 149 | 3.6569 | 1.0876
std5 | 131.2 | 611.1 | 63.9 |  |  |  |  | 5 | 10 | 8 | 2 | 0.005202 | 0.010344 | 0.0037544 | 131.2 | 611.1 | 63.9 | 4.6578 | 0.48704
std6 | 139.5 | 801.4 | 0 |  |  |  |  | 6 | 10 | 10 | 0 | 0.005202 | 0.01293 | 0 | 139.5 | 801.4 | 0 | 5.7448 | 0
Sample | Fructose | Glucose | Mannitol | Surcose | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | DHA Mass Grubbs test | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | Sugar Grubbs Test | DHA(mg)/(F+G+S)(mg) | DHA(mg)/(F+G+S)(mg) values | Grubbs Single Outlier Test | Grubbs Two Outlier tests | Grubbs Outliers tests
VB013-1 | 152.3 | 201.9 | 887.5 | 0 | VB013-1 | 118.2 | 2.7 | 0 | 0.022843 | 5.0354e-05 | 0.6857 | 152.3 | 201.9 | 887.5 | 0 | 0.17161 | 0.22749 | 0 | 0.0082168 | 0.0070723 | 0 | 1.1618 | 0.15289 | 0.83576 | 0.00032935 | 0.00032935 | 1.3011 | High, Low outliers | Needs to exceed | 95% confidence | 99% confidence
VB013-2 | 122.9 | 140.4 | 913.4 | 0 | VB013-2 | 131.9 | 11.3 | 0 | 0.085671 | 0.00018885 | 0.16413 | 122.9 | 140.4 | 913.4 | 0 | 0.13455 | 0.15371 | 0 | 0.0064426 | 0.0047786 | 0 | 1.3482 | 0.11221 | 0.19188 | 0.001683 | 0.0017593 | 0.11274 | -2.6393 | Grubbs Single | 2.176 | 2.41
VB013-3 | 74.3 | 84.6 | 805.8 | 0 | VB013-3 | 133.8 | 8.2 | 0 | 0.061286 | 0.0001351 | 0.16571 | 74.3 | 84.6 | 805.8 | 0 | 0.092207 | 0.10499 | 0 | 0.004415 | 0.0032639 | 0 | 1.3527 | 0.076789 | 0.3688 | 0.0017593 | 0.001683 | 0.037273 |  | Grubbs High Low | 3.68 | 3.88
VB013-4 | 165.3 | 205.9 | 949.8 | 0 | VB013-4 | 134.4 | 24.2 | 0 | 0.18006 | 0.00039692 | 1.4409 | 165.3 | 205.9 | 949.8 | 0 | 0.17404 | 0.21678 | 0 | 0.0083332 | 0.0067393 | 0 | 1.2365 | 0.15073 | 0.80148 | 0.0026334 | 0.0008844 | 0.75233 | Two High Outliers | Grubbs Two High/Low | 0.7695 | 0.8586
VB013-5 | 198.8 | 232.5 | 863.7 | 0 | VB013-5 | 133.1 | 12.9 | 0 | 0.09692 | 0.00021365 | 0.31628 | 198.8 | 232.5 | 863.7 | 0 | 0.23017 | 0.26919 | 0 | 0.011021 | 0.0083686 | 0 | 1.317 | 0.1939 | 1.4848 | 0.0011019 | 0.00075588 | 0.8794 | 0.20913
VB013-6 | 171.7 | 211.8 | 915.5 | 0 | VB013-6 | 140 | 30.8 | 0 | 0.22 | 0.00048497 | 1.9811 | 171.7 | 211.8 | 915.5 | 0 | 0.18755 | 0.23135 | 0 | 0.0089801 | 0.0071922 | 0 | 1.2486 | 0.16172 | 0.97556 | 0.0029987 | 0.0011019 | 0.53731
VB013-7 | 72.6 | 52.8 | 824.3 | 0 | VB013-7 | 136.5 | 3.4 | 0 | 0.024908 | 5.4908e-05 | 0.65776 | 72.6 | 52.8 | 824.3 | 0 | 0.088075 | 0.064054 | 0 | 0.0042172 | 0.0019913 | 0 | 2.1178 | 0.062085 | 0.60154 | 0.0008844 | 0.0026334 | 0.97698 | Two Low Outliers
VB013-8 | 54.6 | 63.4 | 857.6 | 0 | VB013-8 | 134.5 | 1 | 0 | 0.025279 | 5.5724e-05 | 0.65275 | 54.6 | 63.4 | 857.6 | 0 | 0.063666 | 0.073927 | 0 | 0.0030485 | 0.0022982 | 0 | 1.3264 | 0.053467 | 0.73795 | 0.0010422 | 0.0010422 | 0.59629 | 0.60388
VB013-9 | 7 | 2.51 | 828 | 0 | VB013-9 | 135.3 | 1.1 | 0 | 0.007391 | 1.6293e-05 | 0.89471 | 7 | 2.51 | 828 | 0 | 0.0084541 | 0.0030314 | 0 | 0.0004048 | 9.424e-05 | 0 | 4.2954 | 0.0049904 | 1.5052 | 0.0032648 | 0.0032648 | 1.6013
VB013-10 | 40.8 | 33.8 | 935.6 | 0 | VB013-10 | 99.9 | 0.66 | 0 | 0.011011 | 2.4273e-05 | 0.84574 | 40.8 | 33.8 | 935.6 | 0 | 0.043608 | 0.036127 | 0 | 0.0020881 | 0.0011231 | 0 | 1.8592 | 0.032112 | 1.076 | 0.00075588 | 0.0029987 | 1.3382
Mannitol | 0 | 0 | 923.3 | 0 | Normal statistics
Mix |  |  |  |  | Average | 129.76 | 10.6222 | 0 | 0.073537 | 0.0001621 |  | 106.03 | 122.961 | 878.12 | 0 | 0.11939 | 0.13807 | 0 | 0.0057167 | 0.0042922 | 0 | 1.7264 | 0.10009 |  | 0.0016453 | 0.0016453
[5 empty] | Std Dev | 11.9363 | 10.6136 | 0 | 0.07393 | 0.00016297 |  | 64.7118 | 85.4435 | 49.933 | 0 | 0.071286 | 0.094072 | 0 | 0.0034133 | 0.0029245 | 0 | 0.95265 | 0.063178 |  | 0.0010114 | 0.0010114
[5 empty] | %RSD | 9.1988 | 99.9192 | #DIV/0! | 100.5348 | 100.5348 |  | 61.0316 | 69.4883 | 5.6863 | #DIV/0! | 59.7073 | 68.1355 | #DIV/0! | 59.7073 | 68.1355 | #DIV/0! | 55.1826 | 63.1218 |  | 61.4714 | 61.4714
VB013 |  | DHA/Tsugar | Pred UMF |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 400uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 50ul | Mass (mg) of Glucose in 50ul | Mass (mg) of Sucrose in 50ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 400uL | DHA(mg)/(F+G+S)(mg) | DHA(mg)/Honey(kg) | Predicted MGO in honey | Predicted UMF | MAD DHA/Tsugar | MAD Pred UMF
Robust Statistics |  |  |  |  | VB013-1 | 118.2 | 2.7 | 0 | 0.022843 | 5.0354e-05 | 152.3 | 201.9 | 887.5 | 0 | 0.17161 | 0.22749 | 0 | 0.0082168 | 0.0070723 | 0 | 1.1618 | 0.12231 | 0.00041168 | 370.5147 | 105.1124 | 6.1974 | 0.0013289 | 6.0232
Median |  | 0.0017405 | 12.2206 |  | VB013-2 | 131.9 | 11.3 | 0 | 0.085671 | 0.00018885 | 122.9 | 140.4 | 913.4 | 0 | 0.13455 | 0.15371 | 0 | 0.0064426 | 0.0047786 | 0 | 1.3482 | 0.08977 | 0.0021037 | 1893.3708 | 428.7193 | 13.7688 | 0.00036321 | 1.5483
MAD |  | 0.0012512 | 5.6497 |  | VB013-3 | 133.8 | 8.2 | 0 | 0.061286 | 0.0001351 | 74.3 | 84.6 | 805.8 | 0 | 0.092207 | 0.10499 | 0 | 0.004415 | 0.0032639 | 0 | 1.3527 | 0.061431 | 0.0021992 | 1979.2427 | 446.9671 | 14.1583 | 0.00045862 | 1.9378
MADe |  | 0.0018556 | 8.3785 |  | VB013-4 | 134.4 | 24.2 | 0 | 0.18006 | 0.00039692 | 165.3 | 205.9 | 949.8 | 0 | 0.17404 | 0.21678 | 0 | 0.0083332 | 0.0067393 | 0 | 1.2365 | 0.12058 | 0.0032918 | 2962.5854 | 655.9274 | 18.3339 | 0.0015512 | 6.1133
Count |  | 10 | 10 |  | VB013-5 | 133.1 | 12.9 | 0 | 0.09692 | 0.00021365 | 198.8 | 232.5 | 863.7 | 0 | 0.23017 | 0.26919 | 0 | 0.011021 | 0.0083686 | 0 | 1.317 | 0.15512 | 0.0013773 | 1239.6007 | 289.7931 | 10.6723 | 0.00036321 | 1.5483
95% confidence |  | 0.0011501 | 5.193 |  | VB013-6 | 140 | 30.8 | 0 | 0.22 | 0.00048497 | 171.7 | 211.8 | 915.5 | 0 | 0.18755 | 0.23135 | 0 | 0.0089801 | 0.0071922 | 0 | 1.2486 | 0.12938 | 0.0037484 | 3373.5838 | 743.2646 | 19.9239 | 0.0020079 | 7.7033
[5 empty] | VB013-7 | 136.5 | 3.4 | 0 | 0.024908 | 5.4908e-05 | 72.6 | 52.8 | 824.3 | 0 | 0.088075 | 0.064054 | 0 | 0.0042172 | 0.0019913 | 0 | 2.1178 | 0.049668 | 0.0011055 | 994.9477 | 237.8044 | 9.454 | 0.00063504 | 2.7666
Normal Statistics |  |  |  |  | VB013-8 | 134.5 | 1 | 0 | 0.0074349 | 1.639e-05 | 54.6 | 63.4 | 857.6 | 0 | 0.063666 | 0.073927 | 0 | 0.0030485 | 0.0022982 | 0 | 1.3264 | 0.042774 | 0.00038317 | 344.8522 | 99.6591 | 6.059 | 0.0013574 | 6.1615
Average |  | 0.0019677 | 12.782 |  | VB013-9 | 135.3 | 1.1 | 0 | 0.0081301 | 1.7922e-05 | 7 | 2.51 | 828 | 0 | 0.0084541 | 0.0030314 | 0 | 0.0004048 | 9.424e-05 | 0 | 4.2954 | 0.0039923 | 0.0044891 | 4040.1886 | 884.9181 | 22.308 | 0.0027486 | 10.0875
Std Dev |  | 0.0014659 | 5.903 |  | VB013-10 | 99.9 | 0.66 | 0 | 0.0066066 | 1.4564e-05 | 40.8 | 33.8 | 935.6 | 0 | 0.043608 | 0.036127 | 0 | 0.0020881 | 0.0011231 | 0 | 1.8592 | 0.025689 | 0.00056691 | 510.2211 | 134.8 | 6.9444 | 0.0011736 | 5.2762
%RSD |  | 74.4989 | 46.1817
Count |  | 10 | 10 |  | Normal statistics
95% confidence |  | 0.00090856 | 3.6586 |  | Average | 129.76 | 10.6222 | 0 | 0.071386 | 0.00015736 | 106.03 | 122.961 | 878.12 | 0 | 0.11939 | 0.13807 | 0 | 0.0057167 | 0.0042922 | 0 | 1.7264 | 0.080071 | 0.0019677 | 1770.9108 | 402.6965 | 12.782 | 0.0011988 | 4.9166
[5 empty] | Std Dev | 11.9363 | 10.6136 | 0 | 0.075761 | 0.00016701 | 64.7118 | 85.4435 | 49.933 | 0 | 0.071286 | 0.094072 | 0 | 0.0034133 | 0.0029245 | 0 | 0.95265 | 0.050542 | 0.0014659 | 1319.3083 | 280.353 | 5.903 | 0.0007807 | 2.8873
[5 empty] | %RSD | 9.1988 | 99.9192 | #DIV/0! | 106.1295 | 106.1295 | 61.0316 | 69.4883 | 5.6863 | #DIV/0! | 59.7073 | 68.1355 | #DIV/0! | 59.7073 | 68.1355 | #DIV/0! | 55.1826 | 63.1218 | 74.4989 | 74.4989 | 69.6189 | 46.1817 | 65.1254 | 58.725

## VB072-2011 white to pink
Sample | VB072 | Year | 2011
Standard Concentrations
GC FID Values
Sample | HA | DHA | MGO |  | PFBHA conc | 20 | mg/ml
VB072-1 | 132.5 | 7.5 | 0 |  | HA conc | 0.5202 | mg/ml
VB072-2 | 114.1 | 2 | 0 |  | MGO conc | 1.8772 | mg/ml
VB072-3 | 131.3 | 0.95 | 0 |  | DHA 1 |  | mg/ml
VB072-4 | 144.8 | 12.1 | 0 |  | DHA 2 | 1.293 | mg/ml
VB072-5 | 133.6 | 3.8 | 0 |  | DHA 3 |  | mg/ml
VB072-6 | 135 | 39.6 | 0
VB072-7 | 132.1 | 26.8 | 0
VB072-8 | 136 | 15.1 | 0
VB072-9 | 141.9 | 29.5 | 0
VB072-10 | 127.7 | 12.4 | 0 | [5 empty] | Volume Added |  |  | Amount Added |  |  | GC-FID area |  |  | HA Ratio
[8 empty] | Sample | HA (uL) | DHA(uL) | MGO(uL) | HA (mg) | DHA(mg) | MGO(mg) | HA | DHA | MGO | DHA/HA | MGO/HA
std1 | 126.4 | 0 | 226.7 |  |  |  |  | 1 | 10 | 0 | 10 | 0.005202 | 0 | 0.018772 | 126.4 | 0 | 226.7 | 0 | 1.7935
std2 | 133.9 | 177.3 | 210.8 |  | DHA gradient | 453.64 |  | 2 | 10 | 2 | 8 | 0.005202 | 0.002586 | 0.015018 | 133.9 | 177.3 | 210.8 | 1.3241 | 1.5743
std3 | 138 | 336.1 | 150.9 |  | Mannitol conc | 5.109 |  | 3 | 10 | 4 | 6 | 0.005202 | 0.005172 | 0.011263 | 138 | 336.1 | 150.9 | 2.4355 | 1.0935
std4 | 137 | 501 | 149 |  |  |  |  | 4 | 10 | 6 | 4 | 0.005202 | 0.0077581 | 0.0075088 | 137 | 501 | 149 | 3.6569 | 1.0876
std5 | 131.2 | 611.1 | 63.9 |  |  |  |  | 5 | 10 | 8 | 2 | 0.005202 | 0.010344 | 0.0037544 | 131.2 | 611.1 | 63.9 | 4.6578 | 0.48704
std6 | 139.5 | 801.4 | 0 |  |  |  |  | 6 | 10 | 10 | 0 | 0.005202 | 0.01293 | 0 | 139.5 | 801.4 | 0 | 5.7448 | 0
Sample | Fructose | Glucose | Mannitol | Surcose | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | DHA Mass Grubbs test | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | Sugar Grubbs Test | DHA(mg)/(F+G+S)(mg) | DHA(mg)/(F+G+S)(mg) values | Grubbs Single Outlier Test | Grubbs Two Outlier tests | Grubbs Outliers tests
VB072-1 | 103.9 | 115 | 1053.6 | 0 | VB072-1 | 132.5 | 7.5 | 0 | 0.056604 | 0.00012478 | 0.64997 | 103.9 | 115 | 1053.6 | 0 | 0.098614 | 0.10915 | 0 | 0.0047218 | 0.0033932 | 0 | 1.3915 | 0.081151 | 0.52437 | 0.0015376 | 0.0015376 | 0.4218 | High, Low outliers | Needs to exceed | 95% confidence | 99% confidence
VB072-2 | 55.9 | 66.1 | 631 | 0 | VB072-2 | 114.1 | 2 | 0 | 0.017528 | 3.864e-05 | 1.0359 | 55.9 | 66.1 | 631 | 0 | 0.08859 | 0.10475 | 0 | 0.0042418 | 0.0032566 | 0 | 1.3025 | 0.074984 | 0.63852 | 0.0005153 | 0.0003809 | 1.0906 | -1.0352 | Grubbs Single | 2.176 | 2.41
VB072-3 | 44 | 44.9 | 836.5 | 0 | VB072-3 | 131.3 | 0.95 | 0 | 0.0072353 | 1.595e-05 | 1.1376 | 44 | 44.9 | 836.5 | 0 | 0.0526 | 0.053676 | 0 | 0.0025186 | 0.0016687 | 0 | 1.5093 | 0.041873 | 1.2515 | 0.0003809 | 0.0005153 | 1.0129 |  | Grubbs High Low | 3.68 | 3.88
VB072-4 | 111.1 | 118 | 633.9 | 0 | VB072-4 | 144.8 | 12.1 | 0 | 0.083564 | 0.00018421 | 0.38367 | 111.1 | 118 | 633.9 | 0 | 0.17526 | 0.18615 | 0 | 0.008392 | 0.005787 | 0 | 1.4501 | 0.14179 | 0.59824 | 0.0012992 | 0.0025206 | 0.14654 | Two High Outliers | Grubbs Two High/Low | 0.7695 | 0.8586
VB072-5 | 36.3 | 43.4 | 751.5 | 0 | VB072-5 | 133.6 | 3.8 | 0 | 0.028443 | 6.27e-05 | 0.92812 | 36.3 | 43.4 | 751.5 | 0 | 0.048303 | 0.057751 | 0 | 0.0023129 | 0.0017954 | 0 | 1.2882 | 0.041082 | 1.2662 | 0.0015262 | 0.0059166 | 2.11 | 0.18368
VB072-6 | 143.5 | 159.4 | 608.7 | 0 | VB072-6 | 135 | 39.6 | 0 | 0.29333 | 0.00064662 | 1.6883 | 143.5 | 159.4 | 608.7 | 0 | 0.23575 | 0.26187 | 0 | 0.011288 | 0.008141 | 0 | 1.3866 | 0.19429 | 1.5702 | 0.0033281 | 0.0015262 | 0.42838
VB072-7 | 145.9 | 190.2 | 727 | 0 | VB072-7 | 132.1 | 26.8 | 0 | 0.20288 | 0.00044722 | 0.79484 | 145.9 | 190.2 | 727 | 0 | 0.20069 | 0.26162 | 0 | 0.0096093 | 0.0081333 | 0 | 1.1815 | 0.17743 | 1.258 | 0.0025206 | 0.0012992 | 0.55966 | Two Low Outliers
VB072-8 | 69.8 | 83.9 | 558.7 | 0 | VB072-8 | 136 | 15.1 | 0 | 0.19706 | 0.00043439 | 0.73738 | 69.8 | 83.9 | 558.7 | 0 | 0.12493 | 0.15017 | 0 | 0.005982 | 0.0046685 | 0 | 1.2814 | 0.10651 | 0.054983 | 0.0040786 | 0.0040786 | 1.0474 | 0.060561
VB072-9 | 104.7 | 121.8 | 588.3 | 0 | VB072-9 | 141.9 | 29.5 | 0 | 0.10641 | 0.00023458 | 0.15798 | 104.7 | 121.8 | 588.3 | 0 | 0.17797 | 0.20704 | 0 | 0.0085216 | 0.0064364 | 0 | 1.324 | 0.14958 | 0.74245 | 0.0015682 | 0.0015682 | 0.40408
VB072-10 | 64.2 | 75.4 | 629.5 | 0 | VB072-10 | 127.7 | 12.4 | 0 | 0.23101 | 0.00050924 | 1.0727 | 64.2 | 75.4 | 629.5 | 0 | 0.10199 | 0.11978 | 0 | 0.0048833 | 0.0037236 | 0 | 1.3114 | 0.086069 | 0.43331 | 0.0059166 | 0.0033281 | 0.61343
Mannitol | 0 | 0 | 923.3 | 0 | Normal statistics
Mix |  |  |  |  | Average | 132.9 | 15.2611 | 0 | 0.12241 | 0.00026983 |  | 87.93 | 101.81 | 701.87 | 0 | 0.13047 | 0.1512 | 0 | 0.0062471 | 0.0047004 | 0 | 1.3427 | 0.10948 |  | 0.0022671 | 0.0022671
[5 empty] | Std Dev | 8.3064 | 13.7411 | 0 | 0.10124 | 0.00022317 |  | 39.4897 | 48.1998 | 149.774 | 0 | 0.06386 | 0.075966 | 0 | 0.0030577 | 0.0023616 | 0 | 0.093859 | 0.054016 |  | 0.0017296 | 0.0017296
[5 empty] | %RSD | 6.2501 | 90.0402 | #DIV/0! | 82.7083 | 82.7083 |  | 44.9103 | 47.3429 | 21.3393 | #DIV/0! | 48.9461 | 50.2436 | #DIV/0! | 48.9461 | 50.2436 | #DIV/0! | 6.9906 | 49.3412 |  | 76.29 | 76.29
VB072 |  | DHA/Tsugar | Pred UMF |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 400uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 50ul | Mass (mg) of Glucose in 50ul | Mass (mg) of Sucrose in 50ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 400uL | DHA(mg)/(F+G+S)(mg) | DHA(mg)/Honey(kg) | Predicted MGO in honey | Predicted UMF | MAD DHA/Tsugar | MAD Pred UMF
Robust Statistics |  |  |  |  | VB072-1 | 132.5 | 7.5 | 0 | 0.056604 | 0.00012478 | 103.9 | 115 | 1053.6 | 0 | 0.098614 | 0.10915 | 0 | 0.0047218 | 0.0033932 | 0 | 1.3915 | 0.064921 | 0.001922 | 1729.7913 | 393.9587 | 13.0158 | 0.00047528 | 1.889
Median |  | 0.0023973 | 14.9048 |  | VB072-2 | 114.1 | 2 | 0 | 0.017528 | 3.864e-05 | 55.9 | 66.1 | 631 | 0 | 0.08859 | 0.10475 | 0 | 0.0042418 | 0.0032566 | 0 | 1.3025 | 0.059988 | 0.00064413 | 579.7152 | 149.5675 | 7.312 | 0.0017531 | 7.5928
MAD |  | 0.0007634 | 3.0375 |  | VB072-3 | 131.3 | 0.95 | 0 | 0.0072353 | 1.595e-05 | 44 | 44.9 | 836.5 | 0 | 0.0526 | 0.053676 | 0 | 0.0025186 | 0.0016687 | 0 | 1.5093 | 0.033498 | 0.00047613 | 428.5176 | 117.438 | 6.5088 | 0.0019211 | 8.396
MADe |  | 0.0011321 | 4.5046 |  | VB072-4 | 144.8 | 12.1 | 0 | 0.083564 | 0.00018421 | 111.1 | 118 | 633.9 | 0 | 0.17526 | 0.18615 | 0 | 0.008392 | 0.005787 | 0 | 1.4501 | 0.11343 | 0.0016239 | 1461.5465 | 336.9566 | 11.7495 | 0.00077333 | 3.1553
Count |  | 10 | 10 |  | VB072-5 | 133.6 | 3.8 | 0 | 0.028443 | 6.27e-05 | 36.3 | 43.4 | 751.5 | 0 | 0.048303 | 0.057751 | 0 | 0.0023129 | 0.0017954 | 0 | 1.2882 | 0.032866 | 0.0019077 | 1716.9749 | 391.2352 | 12.9562 | 0.00048952 | 1.9486
95% confidence |  | 0.00070168 | 2.7919 |  | VB072-6 | 135 | 39.6 | 0 | 0.29333 | 0.00064662 | 143.5 | 159.4 | 608.7 | 0 | 0.23575 | 0.26187 | 0 | 0.011288 | 0.008141 | 0 | 1.3866 | 0.15543 | 0.0041601 | 3744.1256 | 822.0047 | 21.2789 | 0.0017629 | 6.3741
[5 empty] | VB072-7 | 132.1 | 26.8 | 0 | 0.20288 | 0.00044722 | 145.9 | 190.2 | 727 | 0 | 0.20069 | 0.26162 | 0 | 0.0096093 | 0.0081333 | 0 | 1.1815 | 0.14194 | 0.0031507 | 2835.6634 | 628.9565 | 17.8244 | 0.00075347 | 2.9197
Normal Statistics |  |  |  |  | VB072-8 | 136 | 15.1 | 0 | 0.11103 | 0.00024475 | 69.8 | 83.9 | 558.7 | 0 | 0.12493 | 0.15017 | 0 | 0.005982 | 0.0046685 | 0 | 1.2814 | 0.085204 | 0.0028725 | 2585.2874 | 575.7516 | 16.7938 | 0.00047528 | 1.889
Average |  | 0.0023696 | 14.5308 |  | VB072-9 | 141.9 | 29.5 | 0 | 0.20789 | 0.00045828 | 104.7 | 121.8 | 588.3 | 0 | 0.17797 | 0.20704 | 0 | 0.0085216 | 0.0064364 | 0 | 1.324 | 0.11966 | 0.0038297 | 3446.745 | 758.8113 | 20.1973 | 0.0014325 | 5.2925
Std Dev |  | 0.0012596 | 5.0821 |  | VB072-10 | 127.7 | 12.4 | 0 | 0.097103 | 0.00021405 | 64.2 | 75.4 | 629.5 | 0 | 0.10199 | 0.11978 | 0 | 0.0048833 | 0.0037236 | 0 | 1.3114 | 0.068855 | 0.0031087 | 2797.8501 | 620.9212 | 17.6709 | 0.00071146 | 2.7662
%RSD |  | 53.1575 | 34.9748
Count |  | 10 | 10 |  | Normal statistics
95% confidence |  | 0.0007807 | 3.1499 |  | Average | 132.9 | 15.2611 | 0 | 0.11056 | 0.00024372 | 87.93 | 101.81 | 701.87 | 0 | 0.13047 | 0.1512 | 0 | 0.0062471 | 0.0047004 | 0 | 1.3427 | 0.08758 | 0.0023696 | 2132.6217 | 479.5601 | 14.5308 | 0.0010548 | 4.2223
[5 empty] | Std Dev | 8.3064 | 13.7411 | 0 | 0.095042 | 0.00020951 | 39.4897 | 48.1998 | 149.774 | 0 | 0.06386 | 0.075966 | 0 | 0.0030577 | 0.0023616 | 0 | 0.093859 | 0.043213 | 0.0012596 | 1133.6487 | 240.9003 | 5.0821 | 0.00059267 | 2.4848
[5 empty] | %RSD | 6.2501 | 90.0402 | #DIV/0! | 85.9639 | 85.9639 | 44.9103 | 47.3429 | 21.3393 | #DIV/0! | 48.9461 | 50.2436 | #DIV/0! | 48.9461 | 50.2436 | #DIV/0! | 6.9906 | 49.3412 | 53.1575 | 53.1575 | 50.2336 | 34.9748 | 56.1887 | 58.8501

## VB014-2011 white to pink
Sample | VB014 | Year | 2011
Standard Concentrations
GC FID Values
Sample | HA | DHA | MGO |  | PFBHA conc | 20 | mg/ml
VB014-1 | 143.3 | 4.1 | 0 |  | HA conc | 0.5202 | mg/ml
VB014-2 | 138.5 | 1.4 | 0 |  | MGO conc | 1.8772 | mg/ml
VB014-3 | 137.3 | 18.1 | 0 |  | DHA 1 |  | mg/ml
VB014-4 | 126.9 | 23.2 | 0 |  | DHA 2 | 1.293 | mg/ml
VB014-5 | 137.5 | 2.3 | 0 |  | DHA 3 |  | mg/ml
VB014-6 | 132.8 | 4.7 | 0
VB014-7 | 128.4 | 10.1 | 0
VB014-8 | 132.3 | 5.5 | 0
VB014-9 | 70.3 | 1.9 | 0
VB014-10 | 278.4 | 32.5 | 0 | [5 empty] | Volume Added |  |  | Amount Added |  |  | GC-FID area |  |  | HA Ratio
[8 empty] | Sample | HA (uL) | DHA(uL) | MGO(uL) | HA (mg) | DHA(mg) | MGO(mg) | HA | DHA | MGO | DHA/HA | MGO/HA
std1 | 126.4 | 0 | 226.7 |  |  |  |  | 1 | 10 | 0 | 10 | 0.005202 | 0 | 0.018772 | 126.4 | 0 | 226.7 | 0 | 1.7935
std2 | 133.9 | 177.3 | 210.8 |  | DHA gradient | 453.64 |  | 2 | 10 | 2 | 8 | 0.005202 | 0.002586 | 0.015018 | 133.9 | 177.3 | 210.8 | 1.3241 | 1.5743
std3 | 138 | 336.1 | 150.9 |  | Mannitol conc | 5.109 |  | 3 | 10 | 4 | 6 | 0.005202 | 0.005172 | 0.011263 | 138 | 336.1 | 150.9 | 2.4355 | 1.0935
std4 | 137 | 501 | 149 |  |  |  |  | 4 | 10 | 6 | 4 | 0.005202 | 0.0077581 | 0.0075088 | 137 | 501 | 149 | 3.6569 | 1.0876
std5 | 131.2 | 611.1 | 63.9 |  |  |  |  | 5 | 10 | 8 | 2 | 0.005202 | 0.010344 | 0.0037544 | 131.2 | 611.1 | 63.9 | 4.6578 | 0.48704
std6 | 139.5 | 801.4 | 0 |  |  |  |  | 6 | 10 | 10 | 0 | 0.005202 | 0.01293 | 0 | 139.5 | 801.4 | 0 | 5.7448 | 0
Sample | Fructose | Glucose | Mannitol | Surcose | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 200uL | DHA Mass Grubbs test | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 20ul | Mass (mg) of Glucose in 20ul | Mass (mg) of Sucrose in 20ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 200uL | Sugar Grubbs Test | DHA(mg)/(F+G+S)(mg) | DHA(mg)/(F+G+S)(mg) values | Grubbs Single Outlier Test | Grubbs Two Outlier tests | Grubbs Outliers tests
VB014-1 | 70 | 84.8 | 799.8 | 0 | VB014-1 | 143.3 | 4.1 | 0 | 0.028611 | 6.3071e-05 | 0.62502 | 70 | 84.8 | 799.8 | 0 | 0.087522 | 0.10603 | 0 | 0.0041907 | 0.0032962 | 0 | 1.2714 | 0.074869 | 0.40806 | 0.00084242 | 0.00084242 | 0.6008 | High, Low outliers | Needs to exceed | 95% confidence | 99% confidence
VB014-2 | 26 | 34.6 | 950 | 0 | VB014-2 | 138.5 | 1.4 | 0 | 0.010108 | 2.2283e-05 | 0.94676 | 26 | 34.6 | 950 | 0 | 0.027368 | 0.036421 | 0 | 0.0013105 | 0.0011323 | 0 | 1.1574 | 0.024427 | 1.1827 | 0.00091221 | 0.0020584 | 0.44555 | -0.024658 | Grubbs Single | 2.176 | 2.41
VB014-3 | 163.7 | 188.6 | 970.5 | 0 | VB014-3 | 137.3 | 18.1 | 0 | 0.13183 | 0.0002906 | 1.1698 | 163.7 | 188.6 | 970.5 | 0 | 0.16868 | 0.19433 | 0 | 0.0080765 | 0.0060414 | 0 | 1.3369 | 0.14118 | 0.61031 | 0.0020584 | 0.00091221 | 0.54074 |  | Grubbs High Low | 3.68 | 3.88
VB014-4 | 206 | 240.1 | 937.3 | 0 | VB014-4 | 126.9 | 23.2 | 0 | 0.18282 | 0.00040301 | 2.0565 | 206 | 240.1 | 937.3 | 0 | 0.21978 | 0.25616 | 0 | 0.010523 | 0.0079635 | 0 | 1.3215 | 0.18487 | 1.2813 | 0.00218 | 0.00081241 | 0.62662 | Two High Outliers | Grubbs Two High/Low | 0.7695 | 0.8586
VB014-5 | 44.8 | 53.6 | 938.6 | 0 | VB014-5 | 137.5 | 2.3 | 0 | 0.016727 | 3.6873e-05 | 0.83167 | 44.8 | 53.6 | 938.6 | 0 | 0.047731 | 0.057106 | 0 | 0.0022854 | 0.0017753 | 0 | 1.2873 | 0.040608 | 0.93423 | 0.00090804 | 0.00010656 | 1.234 | 0.062499
VB014-6 | 77.8 | 88.9 | 724.5 | 0 | VB014-6 | 132.8 | 4.7 | 0 | 0.035392 | 7.8017e-05 | 0.50712 | 77.8 | 88.9 | 724.5 | 0 | 0.10738 | 0.12271 | 0 | 0.0051418 | 0.0038147 | 0 | 1.3479 | 0.089564 | 0.18237 | 0.00087107 | 0.00090804 | 0.54433
VB014-7 | 227.8 | 275.9 | 912.9 | 0 | VB014-7 | 128.4 | 10.1 | 0 | 0.07866 | 0.0001734 | 0.24528 | 227.8 | 275.9 | 912.9 | 0 | 0.24953 | 0.30222 | 0 | 0.011948 | 0.0093955 | 0 | 1.2717 | 0.21344 | 1.72 | 0.00081241 | 0.00218 | 0.55017 | Two Low Outliers
VB014-8 | 35.8 | 46.8 | 731.7 | 0 | VB014-8 | 132.3 | 5.5 | 0 | 0.076342 | 0.00016829 | 0.20495 | 35.8 | 46.8 | 731.7 | 0 | 0.048927 | 0.063961 | 0 | 0.0023427 | 0.0019884 | 0 | 1.1782 | 0.043311 | 0.89271 | 0.0038855 | 0.0038855 | 2.0178 | 0.17751
VB014-9 | 52.5 | 71.4 | 776.6 | 0 | VB014-9 | 70.3 | 1.9 | 0 | 0.078236 | 0.00017246 | 0.2379 | 52.5 | 71.4 | 776.6 | 0 | 0.067602 | 0.091939 | 0 | 0.0032369 | 0.0028582 | 0 | 1.1325 | 0.060951 | 0.6218 | 0.0028295 | 0.0028295 | 1.1091
VB014-10 | 149.8 | 193.7 | 934.6 | 0 | VB014-10 | 278.4 | 32.5 | 0 | 0.0068247 | 1.5044e-05 | 1.0039 | 149.8 | 193.7 | 934.6 | 0 | 0.16028 | 0.20725 | 0 | 0.0076746 | 0.0064431 | 0 | 1.1911 | 0.14118 | 0.61028 | 0.00010656 | 0.00087107 | 0.57615
Mannitol | 0 | 0 | 923.3 | 0 | Normal statistics
Mix |  |  |  |  | Average | 142.57 | 7.9222 | 0 | 0.064555 | 0.0001423 |  | 105.42 | 127.84 | 867.65 | 0 | 0.11848 | 0.14381 | 0 | 0.0056731 | 0.0044709 | 0 | 1.2496 | 0.10144 |  | 0.0015406 | 0.0015406
[5 empty] | Std Dev | 52.0583 | 7.7703 | 0 | 0.057508 | 0.00012677 |  | 74.615 | 88.1163 | 97.5492 | 0 | 0.077114 | 0.090851 | 0 | 0.0036923 | 0.0028244 | 0 | 0.078571 | 0.065115 |  | 0.0011621 | 0.0011621
[5 empty] | %RSD | 36.5142 | 98.0818 | #DIV/0! | 89.084 | 89.084 |  | 70.7788 | 68.927 | 11.2429 | #DIV/0! | 65.0853 | 63.1728 | #DIV/0! | 65.0853 | 63.1728 | #DIV/0! | 6.2878 | 64.1906 |  | 75.4312 | 75.4312
VB014 |  | DHA/Tsugar | Pred UMF |  | Samples | HA Peak Area | DHA Peak Area | MGO Peak Area | DHA/HA Peak Area Ratio | Mass (mg) of DHA in 400uL | Fructose Peak Area | Glucose Peak Area | Mannitol Peak Area | Sucrose Peak Area | Fructose/Mannitol Peak Area Ratio | Glucose/Mannitol Peak Area Ratio | Sucrose/Mannitol Peak Area Ratio | Mass (mg) of Fructose in 50ul | Mass (mg) of Glucose in 50ul | Mass (mg) of Sucrose in 50ul | Fructose /Glucose | Total Mass (mg) of F+G+S in 400uL | DHA(mg)/(F+G+S)(mg) | DHA(mg)/Honey(kg) | Predicted MGO in honey | Predicted UMF | MAD DHA/Tsugar | MAD Pred UMF
Robust Statistics |  |  |  |  | VB014-1 | 143.3 | 4.1 | 0 | 0.028611 | 6.3071e-05 | 70 | 84.8 | 799.8 | 0 | 0.087522 | 0.10603 | 0 | 0.0041907 | 0.0032962 | 0 | 1.2714 | 0.059895 | 0.001053 | 947.7173 | 227.7679 | 9.2151 | 0.00012803 | 0.58044
Median |  | 0.0011811 | 9.7955 |  | VB014-2 | 138.5 | 1.4 | 0 | 0.010108 | 2.2283e-05 | 26 | 34.6 | 950 | 0 | 0.027368 | 0.036421 | 0 | 0.0013105 | 0.0011323 | 0 | 1.1574 | 0.019542 | 0.0011403 | 1026.2369 | 244.4533 | 9.6116 | 4.0787e-05 | 0.18388
MAD |  | 0.00014678 | 0.66619 |  | VB014-3 | 137.3 | 18.1 | 0 | 0.13183 | 0.0002906 | 163.7 | 188.6 | 970.5 | 0 | 0.16868 | 0.19433 | 0 | 0.0080765 | 0.0060414 | 0 | 1.3369 | 0.11294 | 0.002573 | 2315.676 | 518.4592 | 15.6459 | 0.0013919 | 5.8504
MADe |  | 0.00021768 | 0.98797 |  | VB014-4 | 126.9 | 23.2 | 0 | 0.18282 | 0.00040301 | 206 | 240.1 | 937.3 | 0 | 0.21978 | 0.25616 | 0 | 0.010523 | 0.0079635 | 0 | 1.3215 | 0.1479 | 0.0027249 | 2452.4504 | 547.5237 | 16.2331 | 0.0015439 | 6.4376
Count |  | 10 | 10 |  | VB014-5 | 137.5 | 2.3 | 0 | 0.016727 | 3.6873e-05 | 44.8 | 53.6 | 938.6 | 0 | 0.047731 | 0.057106 | 0 | 0.0022854 | 0.0017753 | 0 | 1.2873 | 0.032486 | 0.0011351 | 1021.5495 | 243.4573 | 9.588 | 4.5996e-05 | 0.20746
95% confidence |  | 0.00013492 | 0.61234 |  | VB014-6 | 132.8 | 4.7 | 0 | 0.035392 | 7.8017e-05 | 77.8 | 88.9 | 724.5 | 0 | 0.10738 | 0.12271 | 0 | 0.0051418 | 0.0038147 | 0 | 1.3479 | 0.071651 | 0.0010888 | 979.9546 | 234.6183 | 9.3783 | 9.2212e-05 | 0.41722
[5 empty] | VB014-7 | 128.4 | 10.1 | 0 | 0.07866 | 0.0001734 | 227.8 | 275.9 | 912.9 | 0 | 0.24953 | 0.30222 | 0 | 0.011948 | 0.0093955 | 0 | 1.2717 | 0.17075 | 0.0010155 | 913.9608 | 220.5947 | 9.0435 | 0.00016554 | 0.75195
Normal Statistics |  |  |  |  | VB014-8 | 132.3 | 5.5 | 0 | 0.041572 | 9.1641e-05 | 35.8 | 46.8 | 731.7 | 0 | 0.048927 | 0.063961 | 0 | 0.0023427 | 0.0019884 | 0 | 1.1782 | 0.034649 | 0.0026448 | 2380.359 | 532.2043 | 15.9249 | 0.0014638 | 6.1294
Average |  | 0.0016876 | 11.9099 |  | VB014-9 | 70.3 | 1.9 | 0 | 0.027027 | 5.9578e-05 | 52.5 | 71.4 | 776.6 | 0 | 0.067602 | 0.091939 | 0 | 0.0032369 | 0.0028582 | 0 | 1.1325 | 0.048761 | 0.0012218 | 1099.654 | 260.0545 | 9.9794 | 4.0787e-05 | 0.18388
Std Dev |  | 0.0007572 | 3.1913 |  | VB014-10 | 278.4 | 32.5 | 0 | 0.11674 | 0.00025734 | 149.8 | 193.7 | 934.6 | 0 | 0.16028 | 0.20725 | 0 | 0.0076746 | 0.0064431 | 0 | 1.1911 | 0.11294 | 0.0022785 | 2050.6412 | 462.1392 | 14.4792 | 0.0010974 | 4.6837
%RSD |  | 44.869 | 26.795
Count |  | 10 | 10 |  | Normal statistics
95% confidence |  | 0.00046931 | 1.9779 |  | Average | 142.57 | 7.9222 | 0 | 0.066949 | 0.00014758 | 105.42 | 127.84 | 867.65 | 0 | 0.11848 | 0.14381 | 0 | 0.0056731 | 0.0044709 | 0 | 1.2496 | 0.081152 | 0.0016876 | 1518.82 | 349.1272 | 11.9099 | 0.00060104 | 2.5426
[5 empty] | Std Dev | 52.0583 | 7.7703 | 0 | 0.058413 | 0.00012876 | 74.615 | 88.1163 | 97.5492 | 0 | 0.077114 | 0.090851 | 0 | 0.0036923 | 0.0028244 | 0 | 0.078571 | 0.052092 | 0.0007572 | 681.4799 | 144.8145 | 3.1913 | 0.00067605 | 2.8228
[5 empty] | %RSD | 36.5142 | 98.0818 | #DIV/0! | 87.2499 | 87.2499 | 70.7788 | 68.927 | 11.2429 | #DIV/0! | 65.0853 | 63.1728 | #DIV/0! | 65.0853 | 63.1728 | #DIV/0! | 6.2878 | 64.1906 | 44.869 | 44.869 | 41.479 | 26.795 | 112.4797 | 111.0221

## Summary
DHA(mg)/(F+G+S)(mg) | Predicted UMF | white/pink | DHA(mg)/(F+G+S)(mg) | Predicted UMF | white/pink | DHA(mg)/(F+G+S)(mg) | Predicted UMF
0.00032935 | 5.7969 |  | 0.0015376 | 11.3754 |  | 0.00084242 | 8.244
0.001683 | 12.0035 | ¦ | 0.0005153 | 6.6972 | ¦ | 0.00091221 | 8.568
0.0017593 | 12.3295 | ¦ | 0.0003809 | 6.048 | ¦ | 0.0020584 | 13.5822
0.0026334 | 15.8807 | ¦ | 0.0012992 | 10.3252 | ¦ | 0.00218 | 14.0803
0.0011019 | 9.4375 | ¦ | 0.0015262 | 11.3258 | ¦ | 0.00090804 | 8.5487
0.0029987 | 17.2655 | ¦ | 0.0033281 | 18.4638 | ¦ | 0.00087107 | 8.3773
0.0008844 | 8.4391 | V | 0.0025206 | 15.4412 | V | 0.00081241 | 8.1041
0.00030654 | 5.6854 |  | 0.002298 | 14.5578 |  | 0.0021159 | 13.8186
0.0035913 | 19.3871 |  | 0.0030638 | 17.5059 |  | 0.00097747 | 8.869
0.00045353 | 6.3998 | pink/red | 0.002487 | 15.3091 | pink/red | 0.0018228 | 12.5987
No apparent trend between the colour of the flower petals and DHA/Tsugars. Would need furthering testing to confirm any results, also to see if the petals changes colour as the flower ages